## Slide 1
Way forward for the Power Sector of West Bengal
Key Drivers and Imperatives
Deloitte Touche Tohmatsu India LLP, January 2022
Notes: To be picked from https://consulting.deloitteresources.com/brand/Pages/Imagery.aspx
https://brandspace.deloitte.com/content/index/guid/image_library?search_term=&list_size=25&assettag%5B16%5D%5B%5D=43&assettag%5B19%5D%5B%5D=50

## Slide 2: Contents
1
Overview of West Bengal power market and average tariff rate
3
Key Imperatives
4
Opportunity: Reduction of power purchase cost from WBPDCL
5
Opportunity: Reduction of fixed cost for WBSETCL
6
Opportunity: Reduction of cost of supply for WBSEDCL
2
Marginal Renewables in Purchase, Capacity Addition far below Estimated Potential
7
Adopting restructured Subsidy Model for WBSEDCL
8
Rationalization of Tariff Structure
@ 2020 Deloitte Touche Tohmatsu India LLP
9
Power Purchase Portfolio optimization
Annexure
10
11
Benchmarking: States with high industrial energy consumption and RE energy portfolio

## Slide 3
Overview of West Bengal power market and average tariff rate

## Slide 4: WBSEDCL is a key player in the West Bengal power sector
WBSEDCL’s Generation mix (MW, %) as on FY21 end
WBSEDCL is present across Generation & Distribution Segments in West Bengal
Chart: 
| Pumped Storage | Hydropower | Solar
Sales | 900 | 177 | 100
The total installed capacity of WBSEDCL is 1,147 MW
The 900 MW pumped storage plant is primarily used for meeting peak as well as emergency power demand of the state
Distribution market share in West Bengal
Chart: Discom-wise consumer mix in West Bengal (FY20)
| WBSEDCL | CESC | DPL | IPCL | DVC
Sales | 0.854 | 0.1427 | 0.003 | 0.0003 | 1e-05
Chart: Discom-wise sales mix in West Bengal (FY20)
| WBSEDCL | CESC | DPL | IPCL | DVC
Sales | 0.58 | 0.21 | 0.042 | 0.0019 | 0.1661
WBSEDCL |  | CESC |  | DPL |  | IPCL |  | DVC | 
WBSEDCL is the largest distribution utility in West Bengal with consumer share of ~85% and sales share of 58% as per FY 2020 data set
It has witnessed gradual increase in Consumers & Retail Sales
Electrification works undertaken by WBSEDCL has resulted in gradual increase in consumer strength and retail sales
Chart: 
| FY15 | FY16 | FY17 | FY18 | FY19 | FY 20 | FY 21
Sales (MUs) | 22509.43 | 22990.86 | 24290.3 | 25526.76 | 27678.127 | 31109 | 29556
Growth in Sales (MUs)
The electricity sales has increased at a CAGR of ~7%
Chart: 
| FY15 | FY16 | FY17 | FY18 | FY19 | FY 20 | FY 21
Consumers (Mn) | 15.1035 | 16.3641 | 17.4246 | 18.113 | 19.13 | 20.06 | 20.77
Growth in Consumers (Mn)
The consumer growth has increased at a CAGR of ~6%
Data source: WBSEDCL’s Annual Reports
@ 2020 Deloitte Touche Tohmatsu India LLP

## Slide 5: Industrial and domestic revenue comprises of ~70% with reducing trend in Dist. And AT&C Loss
High proportion (~90%) of low voltage domestic consumers
WBSEDCL’s consumer & sales mix are dominated by low voltage domestic consumers
WBSEDCL’s Consumer, Sales & Revenue Mix (FY21)
Chart: 
| Domestic | Commercial | Agricultural | Industrial | Others
Sales | 0.89 | 0.09 | 0.02 | 0.01 | 0.002
Domestic |  | Commercial |  | Agricultural |  | Industrial |  | Others | 
Chart: 
| Domestic | Commercial | Agricultural | Industrial | Others
Sales | 0.39 | 0.15 | 0.04 | 0.32 | 0.1
There has been a decreasing trend in Dist. & AT&C loss over last few years
Chart: 
| FY16 | FY17 | FY18 | FY19 | FY 20 | FY 21
Sales (MUs) | 0.2774 | 0.2802 | 0.2666 | 0.22965 | 0.1848 | 0.2089
WBSEDCL’s Dist. Losses
Chart: 
| FY16 | FY17 | FY18 | FY19 | FY 20 | FY 21
Sales (MUs) | 0.2984 | 0.3012 | 0.2735 | 0.22965 | 0.201 | 0.2135
WBSEDCL’s AT&C Losses
Industrial consumers comprises of ~1% of total no. of consumers which contributes to ~32% of total revenue whereas ~89% of Domestic consumers comprises of ~37% of total revenue.
There has been a decreasing trend in Distribution and AT&C Losses over last few years.
Data source: WBSEDCL’s Annual Reports
Chart: 
| Domestic | Commercial | Agricultural | Industrial | Others
Revenue | 0.37 | 0.18622 | 0.03 | 0.32 | 0.093782

## Slide 6: Financial Health of WBSEDCL
Chart: Trend of Short term Borrowing and Interest Cost (Rs. Lakhs)
| FY 2016 | FY 2017 | FY 2018 | FY 2019 | FY 2020 | FY 2021
Short Term Borrowings as on year end | 430597 | 471359 | 575261 | 510393 | 586037 | 589670
Interest on Short Term Borrowings | 67851 | 77293 | 78351 | 71161 | 60519 | 62545
Chart: Trend of Net Profit Margin and Gross Profit Margin
| FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21
Net Profit Margin | 0.0014 | -0.0013 | -0.0019 | -0.0021 | 0.0238 | -0.0083
Gross Profit Margin | 0.16 | 0.2 | 0.19 | 0.16 | 0.15 | 0.0692
There has been an increasing trend in short term borrowings which led to decline in profitability of WBSEDCL.
This resulted in a migration of credit rating from ACUITE A2+ (Stable) in FY 2016-17 to ACUITE BBB (Stable) in FY 2020-21
Debt to Equity ratio has been higher than normative ratio admissible by WBERC.
Chart: 
| FY 15 | FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21*
Debt to Equity Ratio | 7.53 | 5.5 | 4.65 | 4.93 | 4.15 | 4.96 | 4.8
Debt to Equity Ratio
Data source: Annual Report of WBSEDCL
Data source: Annual Report of WBSEDCL
*Debt:Equity for FY 2021- (Long term Borrowings + Current portion of Long-term borrowings)/ Average Equity
The figures exclude Other Comprehensive Income

## Slide 7
Revenue
Cost
WBSEDCL Financial Cost Bridge FY 20-21
(69%)
(10%)
(6%)
(6%)
(4%)
(5%)
(Figures in Rs. Lakhs)
Power Purchase and Transmission costs contribute ~80% of the total costs for WBSEDCL followed by ~Employee and Finance Costs.
Data Source: Financial statement of WBSEDCL for FY 2020-21
Regulatory Asset Movement
Profit / Loss
Total Revenue | Power Purchase Cost | Transmission & System Operating Charges | Employee Benefit Expense | Finance Cost | Depreciation & Amortization | Other Expenses* | Net movement in Regulatory Deferral Account Balance | Net Profit/Loss for the period
*Other Expenses include Outsourced Jobs, R&M expense, A&G expense, other debits, expenditure on CSR.
Chart: 
| Outsourced Jobs: Manpower Related | Repair & maintenance Expenses | Administrative & General Expenses | Other Debits
Series 1 | 67051 | 22062 | 33289 | 18011
Series 2 | 2.4 | 4.4 | 1.8 | 2.8
Series 3 | 2 | 2 | 3 | 5
@ 2020 Deloitte Touche Tohmatsu India LLP
Other Comprehensive Income: Rs. 23,825 Lakhs

## Slide 8
Commission’s Assessment
2. Issuance of Public Notice
1. Technical Validation Session (TVS)
Commission Scrutinizes the Petition and seek for additional information
(if any)
TVS
Utilities publish tariff proposal in their website
Public Notice
Comments & suggestions from various stakeholders and public filed
3. Conduct of Public Hearing
4. Inputs towards drafting of Order
Inputs from Legal as per prevailing Regulatory Provisions
Comments from Commission
The Regulatory Commission has to issue Order within 120 days of filing of the Petition by the Utilities
Compliance to Tariff Regulations in terms of MYT Formats, fees etc.
Utilities publish notice in leading newspapers
Technical & Financial inputs as per prevailing Regulatory Provisions
Submission of MYT ARR petition and tariff proposal before Commission along with requisite fees by November 30th.
Utilities files their responses & replies against comments & Suggestions
Issuance of Final Tariff/APR Order by the Commission
Utilities file Annual Performance Review (APR) Petition / True-Up Petition for previous years as per prevailing Tariff Regulation based on actual vs approved expenses by the Commission
Regulatory process for MYT and APR petitions/orders

## Slide 9
Key Imperatives

## Slide 10: Key Imperatives and Net estimated Benefits
Power Purchase Cost Optimization from WBPDCL
Reduction in Fixed Cost from WBSETCL
Reduction in ACOS of WBSEDCL
Structured Subsidy Model for WBSEDCL
Rationalization of Tariff Structure for WBSEDCL
Potential for reduction of fixed cost obligation and energy charges through decommissioning of older plants of WBPDCL
Reduction of cost of coal procurement through captive sources
Fixed Cost optimization by way of sustainable reduction of Return on Equity of WBSETCL
ACOS options by leveraging RDSS and Grid Modernization Investments
Setting up of Anti Power Theft Police Stations
Reduction of commercial losses through restructuring of subsidy for lifeline and other domestic consumers; especially due to improvement in collection efficiency
A relook at the tariff slabs especially for Domestic, HV and LV fixed charges is required
Simplifying the existing tariff slabs may smoothen the billing process
Link to Detailed Slide
Link to Detailed Slide
Link to Detailed Slide
Link to Detailed Slide
Link to Detailed Slide
Power Purchase Portfolio Optimization for WBSEDCL
PPA cost optimization through retirement of PPAs of higher cost
Power Purchase Cost reduction through RE portfolio addition
Real time management of power surplus
Link to Detailed Slide
1
2
3
4
5
6

## Slide 11
Distribution (WBSEDCL)
Generation (WBPDCL)
17 p/kWh
35 p/kWh
Coal Supply share maximum @ Captive Mine
52 p/kWh
Total Savings Incl. Captive+ Generation
Transmission (WBSETCL)
9 / 6 p/kWh
Reduced ROE Claim by WBSETCL @ 7.5% / 10%
61/58 p/kWh
Total Savings incl. Generation +Transmission
16 p/kWh
Billing Efficiency Improvement @ 3%- Reduction of ACOS @ retirement of contract of highest MOD plants
11 p/kWh
Billing Efficiency Improvement @ 3%
Reduction of ACOS @ Avg ECR of DVC Mejia & RTPS
87/79 p/kWh
Total Savings incl. Generation +Transmission+ Distribution
Retirement Old Asset completed useful life
Cost Savings Potential for WB Power Utilities
Additional Savings in PP Cost
With RPO obligation if met
10 p/kWh
+
=
=
=
+
+
+
OR

## Slide 12
Opportunity: reduction of power purchase cost from WBPDCL

## Slide 13: Reduction of Fixed Cost Obligation and Energy Charge passed on to WBSEDCL through decommissioning of relatively older plant units of WBPDCL
Scenario I
Scenario II
Kolaghat (420 MW) and Bandel (120 MW ) decommissioned out of 4745 MW
Fixed Cost 145 Crores reduction ( 6%)
Energy Cost 380 Crores reduction (7%)
Balancing need for shortfall in total power purchase of WBSEDCL (~42353 MUs in FY 21)
INR 0.05/kWh
INR 0.12/kWh
INR 0.17/kWh
Reduction in Fixed Charge Obligation
Reduction in Energy Charge
Ramp up of Capacity from Remaining WBPDCL Units to meet earlier Generation levels
Availability of Sagardighi, Bakreswar, would need to be enhanced by at least 10 – 12%.
Revenue and ROE Levels of WBPDCL are preserved under Scenario II
INR 0.01/kWh
INR 0.02/kWh
INR 0.03/kWh
Reduction in Fixed Charge Obligation
Reduction in Energy Charge
Current contribution of WBPDCL to WBSEDCL Average Tariff | Resultant contribution of WBPDCL to WBSEDCL average tariff in Scenario I | Resultant contribution of WBPDCL to WBSEDCL average tariff in Scenario II
2.50 | 2.33 | 2.47
Further calculation details pertaining to the above case studies are provided in Annexure
Scenario I
Plant | Capacity (MW) | No. of Units proposed to be decommissioned
Kolaghat | 2x210 | 2 Nos.
Bandel | 2x60 | 2 Nos.
TOTAL | 540 | 
Back to Home
1

## Slide 14: Reduction of cost of coal procurement for WBPDCL by maximizing 8 MTPA additional production
62% coal from Captive sources being sourced by WBPDCL and 38% being supplied from CIL Basket FSA
CIL Coal is nearly 74% more expensive than its captive counterpart
Current Scenario
Captive Coal Mines of WBPDCL
Chart: Plant-wise share of coal from non-captive and captive sources vis a vis their price (INR/MT) FY 2019 -20 Tariff Order Basis
| Kolaghat | Bandel | Bakreswar | Santaldih | Sagardighi I | Sagardighi II
Non-Captive Share | 0.86653 | 0.76751 | 0.81739 | 0.7426 | 0.75002 | 0.75002
Captive Share | 0.13347 | 0.23249 | 0.18261 | 0.2574 | 0.24998 | 0.24998
Non-Captive Wt. Avg. Price | 2417.3416 | 2636.7292 | 4211.4087 | 4024.731 | 4577.9128 | 4577.9127
Captive Wt. Avg. Price | 2290.7037 | 2126.2387 | 2452.2436 | 1677.63 | 2031.12 | 2086.419
Net possible savings (in INR Cr) | Resultant reduction in contribution of WBPDCL to WBSEDCL average tariff through this approach
1076 | INR 0.35/kWh
Further calculation details pertaining to the above are provided in Annexure
Note: Based on FY 2019 -20 WBPDCL Tariff Order and Coal Purchase Data
# | Names of Mines | District | Grade | Current production (MTPA) | Future Plans (MTPA)
1 | Panchura North | Jharkhand (Pakur Dist.) | G9 | 10 | 15
2 | Borjor North | Bankura | G13 | 2.25 | 3
3 | Borjora Coal Mine | Birbhum | G7 | 0.36 | Will End this year
4 | Gangaramchak Bhaduria | Birbhum | G11 | 1 | 
5 | Tara East & West | Bardhaman | G9 | - | 4
 |  |  |  | 13.61 | 22
Note: Actual Wt. Avg Coal Price from Captive Mines for 2020-21 was ~ Rs 1982/MT and the same for CIL basket source was ~ Rs 3618/MT
Back to Home
1

## Slide 15
Opportunity: Reduction of fixed cost for WBSETCL

## Slide 16: Reduction of Fixed Cost for WBSETCL by way of sustainable reduction of ROE %; precedence already set by Rajasthan and Uttar Pradesh
Source: 1) Respective TRANSCO Tariff Orders
Current Scenario
UPPTCL claim 2% ROE – UPERC allowed levels of 14.5%
and RVPNL claim 2% ROE - RERC allowed levels of 14%
APTRANSCO and BSPTCL have ROE ~ 10-11%
Precedence set by other States
WBSETCL currently claims 15.5% ROE as allowed by WBERC vide Tariff Regulations
Precedence in STU of lower ROE being claimed vis-à-vis SERC Regulations to lower Discom Cost Burdens as Transition Mechanism
Proposed Way Forward
Note: Admitted equity base for FY 20 is INR 2909 Cr. Whereas MAT rate considered by Commission to compute income tax was 17.47% (for FY 20)
ROE Considered | Particulars | Amount | Total Savings | Total savings in terms of WBSEDCL avg. tariff
15.5% | Admitted ROE | INR 451 Cr. | - | -
 | Admitted Income Tax | INR 79 Cr |  | 
10% | Modified ROE (@ 10%) | INR 291 Cr. | INR 188 Cr. | INR 0.06/kwh
 | Modified Income Tax (at ROE @10%) | INR 51 Cr. |  | 
7.5% | Modified ROE (@ 7.5%) | INR 218 Cr. | INR 273Cr | INR 0.09/kWh
 | Modified Income Tax (at 7.5%) | INR 38 Cr. |  | 
Chart: 
| Admitted ROE at 15.5% | ROE at 10% | ROE at 7.5% | Total Equity required as per planned CAPEX for FY 21 | Total Equity required as per planned CAPEX for FY 22 | Total Equity required as per planned CAPEX for FY 23
INR Crores | 450.8578 | 290.876 | 218.157 | 119.3422 | 202.9473 | 227.9802
Adequacy of reduced ROE to sustain future equity requirement (30%) w.r.t capital investment plans
Figures in INR Crores
*Additional amount of ~INR 444 Cr available with WBSETCL as Cash and Bank balance for FY ‘20
Back to Home
2

## Slide 17
Power Purchase Portfolio Optimization

## Slide 18: Load-Demand Curve ( In MW) of last 3 Years for WBSEDCL as per 7th MYT Order
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
FY 2020-21 | 4300 | 4270 | 4240 | 4210 | 4180 | 4150 | 4120 | 4100 | 4150 | 4200 | 4250 | 4300 | 4350 | 4450 | 4220 | 4490 | 4760 | 5030 | 5300 | 5570 | 5600 | 5300 | 5000 | 4700
FY 2021-22 | 4150 | 4130 | 4110 | 4090 | 4070 | 4050 | 4030 | 4000 | 4150 | 4300 | 4450 | 4600 | 4750 | 4750 | 4600 | 4450 | 4550 | 4650 | 5330 | 6010 | 6700 | 6270 | 5840 | 5400
FY 2022-23 | 4350 | 4325 | 4300 | 4275 | 4250 | 4225 | 4200 | 4150 | 4280 | 4410 | 4540 | 4670 | 4800 | 4950 | 4850 | 4750 | 4800 | 4850 | 5500 | 6150 | 6800 | 6450 | 6100 | 5750
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
FY 2020-21 | 4200 | 4250 | 4300 | 4350 | 4225 | 4100 | 4125 | 4150 | 4175 | 4200 | 4225 | 4250 | 4275 | 4300 | 4200 | 4100 | 4600 | 5100 | 5600 | 6000 | 5950 | 5650 | 5350 | 4950
FY 2021-22 | 4750 | 4650 | 4550 | 4450 | 4350 | 4450 | 5000 | 5060 | 5120 | 5180 | 5240 | 5300 | 5360 | 4950 | 4875 | 4800 | 4840 | 4880 | 5330 | 5780 | 6250 | 5970 | 5690 | 5400
FY 2022-23 | 4850 | 4832 | 4814 | 4796 | 4778 | 4760 | 4742 | 4700 | 4775 | 4850 | 4925 | 5000 | 5075 | 5150 | 5050 | 4950 | 5000 | 5050 | 5630 | 6215 | 6800 | 6485 | 6170 | 5850
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
FY 2020-21 | 4150 | 4130 | 4110 | 4090 | 4070 | 4050 | 4030 | 4000 | 4060 | 4120 | 4180 | 4240 | 4300 | 4400 | 4335 | 4270 | 4200 | 4360 | 4520 | 4680 | 4750 | 4550 | 4350 | 4150
FY 2021-22 | 4750 | 4670 | 4590 | 4510 | 4430 | 4350 | 4270 | 4250 | 4355 | 4460 | 4565 | 4670 | 4775 | 4900 | 4825 | 4750 | 4800 | 4850 | 4900 | 4950 | 5000 | 4770 | 4540 | 4300
FY 2022-23 | 4800 | 4750 | 4700 | 4650 | 4600 | 4550 | 4500 | 4400 | 4555 | 4710 | 4865 | 5020 | 5175 | 5350 | 5225 | 5100 | 5000 | 4900 | 5015 | 5130 | 5250 | 5050 | 4850 | 4650
FY | Minimum Demand (In MW) | Maximum Demand (In MW) | Average Demand (In MW)
FY 21 | 4100 | 5600 | 4552
FY 22 | 4000 | 6700 | 4726
FY 23 | 4150 | 6800 | 4905
FY | Minimum Demand (In MW) | Maximum Demand (In MW) | Average Demand (In MW)
FY 21 | 4100 | 6000 | 4609
FY 22 | 4350 | 6250 | 5093
FY 23 | 4700 | 6800 | 5219
FY | Minimum Demand (In MW) | Maximum Demand (In MW) | Average Demand (In MW)
FY 21 | 4000 | 4750 | 4254
FY 22 | 4250 | 5000 | 4635
FY 23 | 4400 | 5350 | 4866
3
Back to Home

## Slide 19: Season-wise average hourly load-generation balance (in MW) for WBSEDCL for FY 2022-23
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5850 | 5800 | 5750 | 5700 | 5650 | 5600 | 5550 | 5450 | 5580 | 5710 | 5840 | 5970 | 6100 | 6250 | 6100 | 5950 | 5980 | 6010 | 6050 | 6425 | 6800 | 6534 | 6268 | 6000
Demand | 4350 | 4325 | 4300 | 4275 | 4250 | 4225 | 4200 | 4150 | 4280 | 4410 | 4540 | 4670 | 4800 | 4950 | 4850 | 4750 | 4800 | 4850 | 5500 | 6150 | 6800 | 6450 | 6100 | 5750
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 6000 | 5975 | 5950 | 5925 | 5900 | 5875 | 5850 | 5800 | 5950 | 6100 | 6250 | 6400 | 6550 | 6700 | 6475 | 6250 | 6430 | 6610 | 6910 | 7210 | 7450 | 7120 | 6790 | 6450
Demand | 4850 | 4832 | 4814 | 4796 | 4778 | 4760 | 4742 | 4700 | 4775 | 4850 | 4925 | 5000 | 5075 | 5150 | 5050 | 4950 | 5000 | 5050 | 5630 | 6215 | 6800 | 6485 | 6170 | 5850
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5000 | 4950 | 4900 | 4850 | 4800 | 4750 | 4700 | 4600 | 4766 | 4932 | 5098 | 5264 | 5430 | 5600 | 5538 | 5476 | 5414 | 5350 | 5565 | 5780 | 6000 | 5884 | 5768 | 5650
Demand | 4800 | 4750 | 4700 | 4650 | 4600 | 4550 | 4500 | 4400 | 4555 | 4710 | 4865 | 5020 | 5175 | 5350 | 5225 | 5100 | 5000 | 4900 | 5015 | 5130 | 5250 | 5050 | 4850 | 4650
As per Clause No. 5.10.6 (Page No. 40) of WBSEDCL Tariff Order for 7th Control Period, Commission stated that there is considerable surplus power throughout the day even during the peak hours. The major reason is the already entered long-term PPA by WBSEDCL in recent years, when generation from WBPDCL was low due to poor availability of coal.
3
Back to Home

## Slide 20
Average Margin Realized on Trading Sales
In Rs./kwh
Sl. No | Particulars | FY 2015-16 |  | FY 2016-17 |  | FY 2017-18 |  | FY 2018-19 |  | FY 2019-20 |  | FY 2020-21 | 
 | Categories | Energy (in MU) | Per unit rate (Rs./kwh) | Sale (in MU) | Per unit rate (Rs./kwh) | Sale (in MU) | Per unit rate (Rs./kwh) | Sale (in MU) | Per unit rate (Rs./kwh) | Sale (in MU) | Per unit rate (Rs./kwh) | Sale (in MU) | Per Unit Rate (Rs./kwh)
1. | Average Energy Billing to WBSEDCL’s Own Consumers |  |  |  |  |  |  |  |  |  |  |  | 
a. | Domestic | 9,120 | 5.77 | 9,825 | 6.25 | 10,267 | 6.43 | 10,876 | 6.42 | 12,216 | 6.59 | 12,872 | 6.68
b. | Commercial | 3,462 | 7.89 | 3,744 | 8.65 | 4,034 | 8.75 | 4,269 | 8.85 | 4,752 | 8.81 | 3,978 | 8.90
c. | Industrial | 6,762 | 7.13 | 7,098 | 8.14 | 7,655 | 8.19 | 8,567 | 8.08 | 10,108 | 7.53 | 9,240 | 7.41
d. | Total | 22,991 | 6.51 | 24,290 | 7.11 | 25,527 | 7.30 | 27,678 | 7.35 | 31,109 | 7.26 | 29,556 | 7.22
2. | Power Purchase Cost and Trading Sale |  |  |  |  |  |  |  |  |  |  |  | 
a. | Sale to Person Other than Licensee and Consumer | 1,971 | 5.09 | 1,980 | 5.19 | 2,049 | 4.92 | 1,794 | 5.21 | 1,210 | 4.48 | 2,642 | 3.55
b. | Power Purchase Cost* | 36,285 | 3.40 | 37,577 | 3.50 | 38,849 | 3.70 | 39,333 | 4.06 | 39,933 | 4.23 | 42,210 | 4.40
c. | Average Margin realized (a– b) |  | 1.69 |  | 1.69 |  | 1.22 |  | 1.16 |  | 0.25 |  | (0.85)
Chart: 
| FY 2015-16 | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21
Total Power Purchase Cost | 3.4 | 3.5 | 3.7 | 4.0575 | 4.2297 | 4.3981
Sale to Person other than licensees and consumers | 5.0886 | 5.1894 | 4.9181 | 5.2139 | 4.4804 | 3.5498
Margin realised on Sale to person other than licensee | 1.6886 | 1.6894 | 1.2181 | 1.1564 | 0.25068 | -0.84829
*Power Purchase Cost excludes Transmission charges
3
Back to Home

## Slide 21
Average Margin Realized on Trading Sales
In Rs./kwh
Class of Consumers based on Voltage | West Bengal |  | Jharkhand |  | Bilateral Beneficiaries |  | Total Sample Size
 | Consumer No. | Sample Size at 90% CI | Consumer No. | Sample Size at 90% CI | Consumer No. | Sample Size at 90% CI | 
220 KV | 3 | 3 | 2 | 2 |  |  | 5
132 KV | 23 | 17 | 16 | 13 |  |  | 30
33 KV | 85 | 38 | 163 | 48 |  |  | 86
11 KV |  |  | 34 | 23 |  |  | 23
Total | 111 | 67 | 215 | 101 | 21 | 16 | 160
Chart: 
| FY 2015-16 | FY 2016-17 | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21
Total Power Purchase Cost | 3.4 | 3.5 | 3.7 | 4.0575 | 4.2297 | 4.3981
Sale to Person other than licensees and consumers | 5.0886 | 5.1894 | 4.9181 | 5.2139 | 4.4804 | 3.5498
Margin realised on Sale to person other than licensee | 1.6886 | 1.6894 | 1.2181 | 1.1564 | 0.25068 | -0.84829
*Power Purchase Cost excludes Transmission charges
3
Back to Home

## Slide 22: Window of Opportunity for exiting High Cost PPA for WBSEDCL ( Rates are as per Issued Tariff Order of WBERC Pertaining to FY 2020-21)
Chart: Approved Quantum of Energy ( In MU)
| DVC (RTPS) | Kolaghat TPS | DVC (Mejia V) | Farakka TPS stage I & Il | Bandel TPS (U#l&II) | Farakka TPS stage Ill | Kanti Bijlee | TPTCL (Maithon Right Bank) | PTC (Adhunik) | Kahalgaon Stage I | Bandel TPS (U#5) | DPL (U#8) | DPL (U#7) | Santaldih TPS | Talcher STPS | Bakreswar TPS (U# 4&5) | Bakreswar TPS (U# 1,2&3) | Sagardighi TPS (U#l&2) | Sagardighi TPS (U#3&4)
Quantum of energy approved by WBERC (MU) | 1432 | 1710 | 339 | 3546 | 221 | 1248 | 255 | 2105 | 470 | 345 | 1371 | 1594 | 1924 | 3189 | 637 | 2678 | 4018 | 3826 | 6640
Approved Energy Rate ( Rs/KWh) | 2.9087 | 2.8601 | 2.7927 | 2.709 | 2.7506 | 2.667 | 2.6323 | 2.5475 | 2.4823 | 2.2631 | 2.1995 | 2.1534 | 2.0719 | 2.0507 | 2.0038 | 1.9819 | 1.9814 | 1.7913 | 1.7392
Average Energy Rate ( Rs/KWh) | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34 | 2.34
The above analysis is in line with the MOP notification (F.No. 09/11/2021-RCM ) dated 26th May 2022 as highlighted below:
  Around 58 BUs of thermal power generated by the public, state, and private sector generating stations can be substituted by 30 GW of renewable energy by the FY 26
  MoP has identified 81 TPS(s) in the central, state, and private sectors to replace coal with renewable power by 2026
  Generating stations that have installed or procured a higher capacity of power for the purpose of replacement but not scheduled are free to sell such power in the exchanges
3
Back to Home

## Slide 23: Power Purchase Portfolio Management needs a Focused Optimization and Real Time Management based on Tariff Order for FY 2020-21 of 7th Control Period for WBSEDCL
Simulated Estimation of savings by optimizing the Purchase Portfolio – DVC, Farakka U#1&2 & Kolaghat procurement entirely replaced with low-cost power purchases cost ( Avoidance calculated on total Cost basis )
Retirement/revision of PPAs with higher cost incidence.
Renewable Portfolio addition will progressively reduce power purchase cost burden (500 MW Solar Plant @ 25% CUF will enable avoiding energy charges payment by ~ Rs. 50 Crores annually
As it seems from the above, if we consider the cheaper power source at its normative utilization factor, the net savings in power purchase cost is ~150 Crore (i.e., Rs. 0.03 / kwh)
Chart: 
| Kolaghat | DVC | Farakka U#1 & 2 | WBPDCL excluding Kolaghat | DPL | NTPC Excluding Farakka U#1&2 | PTC- Themal | PTC- Hydro | NHPC | HMEL
Average Rate ( RS/KWh) | 3.4765 | 4.4936 | 3.5406 | 3.1363 | 3.8443 | 3.6506 | 4.6516 | 3.0032 | 4.2618 | 5.1745
Utilization Factor (%) | 0.17138 | 0.8103 | 0.84998 | 0.79027 | 0.8 | 0.67986 | 0.4726 | 0.38227 | 0.49962 | 0.84982
Source | Allocation (in MW) | Approved (MU) | Utilization Factor (%) | Average Cost | Average Rate
 |  |  |  | (Crore) | ( Rs/KWh)
Kolaghat | 1139 | 1710 | 17% | 594 | 3.48
DVC | 250 | 1771 | 81% | 796 | 4.49
Farakka U#1&2 | 476 | 3546 | 85% | 1255 | 3.54
WBPDCL excl. Kolaghat | 3170 | 21943 | 79% | 6882 | 3.14
DPL | 502 | 3518 | 80% | 1352 | 3.84
NTPC excl. Farakka U#1&2 | 618 | 3680 | 68% | 1343 | 3.65
PTC -Thermal | 300 | 1242 | 47% | 578 | 4.65
HMEL | 270 | 2010 | 85% | 1040 | 5.17
PTC-Hydro | 985 | 3297 | 38% | 990 | 3.00
NHPC | 426 | 1865 | 50% | 795 | 4.26
Other |  | 5331 |  | 1909 | 3.58
Total |  | 49913 |  | 17535 | 3.51
Source | Allocation (in MW) | Approved (MU) | Utilization Factor (%) | Average Cost | Average Rate
 |  |  |  | (Crore) | ( Rs/KWh)
Kolaghat | Scenario for retirement/Surrender of PPA |  |  |  | 
DVC |  |  |  |  | 
Farakka U#1&2 |  |  |  |  | 
WBPDCL excl. Kolaghat | 3170 | 23601 | 85% | 3.14 | 7402
DPL | 502 | 3738 | 85% | 3.84 | 1437
NTPC excl. Farakka U#1&2 | 618 | 4601 | 85% | 3.65 | 1680
PTC -Thermal | 300 | 2234 | 85% | 4.65 | 1039
HMEL | 270 | 2010 | 85% | 5.17 | 1040
PTC-Hydro | 985 | 4312 | 50% | 3.00 | 1295
NHPC | 426 | 1865 | 50% | 4.26 | 795
Other |  | 7552 |  | 3.58 | 2704
Total | 6270 | 49913 |  | 3.48 | 17392
3
Back to Home

## Slide 24
Opportunity: Reduction of cost of supply
WBSEDCL

## Slide 25: Existing status of Billing Efficiency
Back to Home
4
Sl. No. | Zone | <15% | 15%-30% | 30%-45% | >45% | Grand Total
1 | Berhampur |  | 7 | 4 | 1 | 12
2 | Burdwan | 4 | 6 | 5 | 1 | 16
3 | Kolkata | 8 | 5 | 1 | 6 | 20
4 | Medinipur | 1 | 5 | 6 | 2 | 14
5 | Siliguri | 3 | 6 | 5 | 1 | 15
Grand Total |  | 16 | 29 | 21 | 11 | 77
Sl. No. | Zone | Name of Division | Billing Efficiency | Collection Efficiency | AT&C Loss %
1 | Berhampur | Kandi | 52.28% | 89.45% | 53.23%
2 | Burdwan | Rampurhat | 58.47% | 92.37% | 45.99%
3 | Kolkata | Bhangar | 55.73% | 92.17% | 48.64%
4 |  | Diamond Harbour | 57.21% | 96.00% | 45.08%
5 |  | Kankdwip | 51.32% | 92.62% | 52.47%
6 |  | Baruipur | 54.68% | 93.07% | 49.10%
7 |  | Jaynagar |  |  | 
8 |  | Canning | 35.20% | 79.98% | 71.85%
9 | Medinipur | Khatra | 60.48% | 79.22% | 52.09%
10 |  | Egra | 56.97% | 94.96% | 45.90%
11 | Siliguri | Dinhata | 66.18% | 81.30% | 46.20%

## Slide 26: Significant Cost Reduction can be achieved by Commercial Losses Reduction (1/2)
Chart: 
| FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 22
Billing Efficiency (%) | 0.7226 | 0.7198 | 0.7336 | 0.7704 | 0.8143 | 0.7902 | 0.8483
Collection Efficiency (%) | 0.97094 | 0.97083 | 0.99059 | 1 | 0.9812 | 0.9954 | 0.9825
Chart: 
| FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 22
Distribution Loss (%) | 0.2774 | 0.2802 | 0.2666 | 0.2297 | 0.1848 | 0.2089
AT&C Loss (%) | 0.2984 | 0.3012 | 0.2735 | 0.2297 | 0.201 | 0.2135 | 0.2
Leveraging of RDSS Investments in a targeted manner complemented with IT OT initiatives are critical
Targeted Program on Metering Efficacy for Billing complemented with other initiatives for specific pockets
** Based on approved average power purchase rate of DVC Plant – Mejia and RTPS
Improvement in Billing Efficiency vis a vis AT&C Losses
Requirement of input energy would go down
Reduction of Cost of Supply after considering Average variable cost of DVC ** Plant (as per tariff petition for FY 2020-21)
Reduction of Cost of Supply after retirement of contract of highest merit order plants
RDSS
Grid Modernization
IT/OT System
Back to Home
4

## Slide 27: Significant Cost Reduction can be achieved by Commercial Losses Reduction (2/2)
Reduction of Cost of Supply after retirement of contract of highest merit order plants
Reduction of Cost of Supply after considering Average variable cost of DVC ** Plant ( as per tariff petition for FY 2020-21)
Source : Tariff Order for 7th Control Period of WBSEDCL.
Particulars |  | Billing Efficiency | Energy Sold (MU) | Net Input Energy (MU) | Net Energy Reduction (MU) | Energy Charge | Net Saving | Saving in Per Unit
 |  | (%) |  |  |  | ( Rs /KWh) | ( Crore) | (Rs/KWh)
Actual Parameter |  | 79% | 29556 | 37361 | 0 | 2.89 | 0 | 
Phase Wise Reduction |  |  |  |  |  |  |  | 
Phase Wise Loss Reduction Planning | Phase 1 | 82% | 29556 | 36044 | 1317 |  | 380 | 0.11
 | Phase 2 | 85% | 29556 | 34772 | 1272 |  | 367 | 0.11
 |  | 88% | 29556 | 33510 | 1262 |  | 364 | 0.11
 |  | 91% | 29556 | 32319 | 1191 |  | 344 | 0.11
 |  | 95% | 29556 | 31112 | 1208 |  | 349 | 0.11
Particulars |  | Billing Efficiency | Energy Sold (MU) | Net Input Energy (MU) | Net Energy Reduction (MU) | Energy Charge | Net Saving | Saving in Per Unit
 |  | (%) |  |  |  | ( Rs /KWh) | ( Crore) | (Rs/KWh)
Actual Parameter |  | 79% | 29556 | 37361 | 0 | 4.49 | 0 | 
Phase Wise Reduction |  |  |  |  |  |  |  | 
Phase Wise Loss Reduction Planning | Phase 1 | 82% | 29556 | 36044 | 1317 |  | 592 | 0.16
 | Phase 2 | 85% | 29556 | 34772 | 1272 |  | 572 | 0.16
 |  | 88% | 29556 | 33586 | 1185 |  | 533 | 0.16
 |  | 91% | 29556 | 32443 | 1143 |  | 514 | 0.16
 |  | 94% | 29556 | 31309 | 1134 |  | 510 | 0.16
** Based on approved average power purchase rate of DVC Plant – Mejia and RTPS
Back to Home
4

## Slide 28: Reduction in bulk power purchase cost through fulfilling RPO obligation target (for FY 21)
Particulars | Value | Unit
Total Power purchase cost | 1,862,702 | Rs Lakhs
Total Power Purchase in MUs | 42,352.86 | MUs
Requisite MUs to fulfil Total RPO | 3173.72 | MUs
Particulars | Value | Unit
Actual Average Power Purchase Cost for FY 21 | 439.80 | Paisa/Unit
Average power purchase cost through swapping with RE (considered at Rs 3/unit) to the extent of quantum of RPO non-fulfilment | 429.33 | Paisa/unit
Total Savings | 10.48 | Paisa/unit
Inputs:
Resultant savings on influx and swapping with RE to the extent of quantum for which RPO is unfulfilled for FY 21

## Slide 29: Concept of Anti Power Theft Police Stations
Anti Power theft police stations play a crucial role in the prevention of power thefts and minimization of AT&C losses.
KEY BENEFITS
Setting up of anti power theft stations got conceptualized with the fact that regular police stations are overloaded with other general cases and the electricity theft issues need immediate resolution.
Anti power theft police stations enhance quality of investigation in the power theft crimes. These stations can register and investigate cases only under sections 135, 138, 139, 140, 141 and 150 of the Electricity Act 20031.
Speedy investigations and prompt follow up- Dedicated personnel working exclusively on power theft cases quickly address the problems of power theft.
Ease of Registering Reports – Dedicated police stations help enforcement wings of the Discoms to get the FIRs registered promptly.
Single Source of Data – Single point of registration and investigation is a valuable source of data to the Discoms to identify pattern and nature of power thefts, high theft prone areas at district/zone level.
1. Impact Analysis of Anti Power theft police stations
Improved Billing & Collection Efficiency – Reduction in theft cases leads to enhanced billing and collections.
Uttar Pradesh
Gujarat
Punjab
Odisha
Rajasthan
Telangana
Maharashtra
Madhya Pradesh*
Indian states with anti power theft police stations (Non-exhaustive list)
Telangana -
Full-fledged anti-power theft police station approved in Siddpet town
Creation of 148 posts for police personnel in Telangana State Power Generation Corporation Limited (TSGenco)3 also granted
Gujarat –
16 dedicated GUVNL Police stations created for lodging power thefts FIR & complaints4.
Additional Director General (Security), GUVNL supervises these special police stations5 to ensure seamless functioning and coordination with the state government
Implementation Model of select States
3. Deccan Chronicle
4. GUVNL Website
5. Times of India
* To be implemented soon - TOI
Back to Home
4

## Slide 30
Marginal Renewables in Purchase, Capacity Addition far below Estimated Potential

## Slide 31
RPO Target for 2021-22: 21.18%
All India RPO achievement (Provisional): ~15.1% ( 191Billion units)
RPO Achievement 2021-22
Chart: 
| Karnataka | Andhra Pradesh | Rajasthan | Himachal Pradesh | Tamil Nadu | Odisha | Gujarat | Mizoram | Nagaland | Jharkhand | Chhattisgarh | Andaman & Nicobar | Madhya Pradesh | Telangana | Assam | Arunachal Pradesh | Meghalaya | Chandigarh | Kerala | Bihar | Maharashtra | Goa | Uttar Pradesh | Uttarakhand | Delhi | Punjab | West Bengal | Sikkim | Haryana | DVC | Jammu & Kashmir& Ladakh (UT) | Manipur | Dadra & Nagar Naveli | Tripura | Lakshadweep | Daman & Diu | Puducherry
Energy Supplied (MU)
Hydro (MU)
Energy Supplied excl. Hydro (MU)
Solar
HPO
Other Non-Solar
Total Non-solar
Total
Solar
HPO
Other Non-Solar
Total Non-solar
National Target : 21.18%

## Slide 32
States | Sanctioned (MW) | Status of Implementation
Rajasthan | 1200 | Commissioned 27.5MW Plants. 440 PPA signed so far. 40 Projects for 55MW under installation
Himachal Pradesh | 30 | Commissioned 15.25MW Plants.
Gujarat | 500 | State Government approval pending
Karnataka | 500 | Capacity surrendered by State
Maharashtra | 500 | LOA issued for 54.75MW. New tender 431MW floated (3rd June last date)
Odisha | 500 | LOA issued to 5 developers for 12.75MW. Tariff is proposed to be revised. EOI to be re-floated for remaining capacity
Telangana | 500 | No Progress. Approval awaited from State
Madhya Pradesh | 500 | LOA issued for 295.58 MW - PPA executed for 35 MW
Uttar Pradesh | 225 | PPA signed for 8 MW
Punjab | 220 | 3 bids for 1 MW each – Allotment in process. Tariff to be revised
Tamil Nadu | 424 | LOA issued for 3MW
Haryana | 65 | PPA signed for 8.57MW by DHBVN and 2MW by UHBVN. EOI for remaining capacity to be floated
Delhi | 0 | Capacity withdrawn
Assam | 50 | List of substations, EOI, Model PPA approved by BoD
Goa | 50 | 22 Bids received for 40MW has been sent to DISCOMs for assessment. Feasibility Report awaited from Electricity Department
Jharkhand | 50 | Tender in pilot mode for 1 MW capacity
Kerala | 40 | Bids invited for 10 MW
Chhattisgarh | 30 | 22 applications for 29.1MW received
Puducherry | 7 | No progress reported
Jammu & Kashmir | 5 | 6 bidders have been identified for 15.4 MW capacity. Tariff of Rs. 4.79 has been discovered through bidding.
Meghalaya | 5 | State proposes to implement through EESL. No progress reported
Tripura | 5 | Applications received for 4 MW capacity
COMPONENT A PROGRESS SO FAR
Front runner States
States speeding up

## Slide 33
RTS Progress Status
Sr. No. | States | Capacity Allotted (MW) | Capacity Installed (MW)
1 | Gujarat | 1937 | 1143.7
2 | Rajasthan | 100 | 36.46
3 | Uttar Pradesh | 98 | 23.68
4 | Haryana | 51.5 | 22.36
5 | Telangana | 72.295 | 21.44
6 | Kerala | 250.9 | 19.96
7 | Madhya Pradesh | 58 | 18.19
8 | Chandigarh | 35 | 17.36
9 | Punjab | 80.213 | 14.31
10 | Uttarakhand | 22 | 9.15
11 | NCT of Delhi | 36 | 2.59
12 | Maharashtra | 133.5 | 2.29
13 | Goa | 20 | 1.96
14 | Bihar | 25 | 1.93
15 | Chhattisgarh | 16 | 0.95
16 | Jharkhand | 11.375 | 0.88
17 | Himachal Pradesh | 15 | 0.78
18 | Andhra Pradesh | 8 | 0.56
19 | Assam | 3.5 | 0.2
20 | Mizoram | 1.5 | 0.19
21 | Manipur | 1 | 0.18
22 | Puducherry | 5 | 0.006
23 | Odisha | 20 | 0
24 | Karnataka | 40 | 0
25 | Meghalaya | 20 | 0
26 | Tamil Nadu | 10 | 0
27 | West Bengal | 60 | 0
28 | Jammu & Kashmir | 20 | 0
29 | Lakshadweep | 0 | 0
30 | Nagaland | 3.8 | 0
31 | Sikkim | 2 | 0
32 | Andaman & Nicobar | 1 | 0
33 | Tripura | 1 | 0
Significant Progress
Slow Progress
No Progress

## Slide 34
Sr. No. | State | Sanctioned (IPS) | Achievement
1 | Assam | 603 | No progress has been reported
2 | Gujarat | 7000 | Work allocated under IPS.
3 | Jharkhand | 208 | Initially sanctioned in FY 2019-20. No progress report. Capacity cancelled and resanctioned recently
4 | Kerala | 9448 | 38 Work Orders issued. 14 Pumps installed under IPS. Other installations are on-going
5 | Punjab | 39 | Sanctioned recently
6 | Rajasthan | 10764 | 1026 pumps have been solarised
7 | Tamil Nadu | 20000 | No progress reported even after revalidation of sanction in FY 2021-22
8 | Tripura | 2600 | Tender for selection of vendors under finalization.
9 | Uttarakhand | 200 | Tariff for Rs. 3.48/unit has been declared.
10 | West Bengal | 5478 | Work awarded for 700 pumps under IPS. Balance have been sanctioned recently.
COMPONENT C PROGRESS - INDIVIDUAL PUMP SOLARIZATION

## Slide 35: Renewable integration has historically been low in West Bengal; significant scope for improvement in this area that may help to reduce high-priced short term power purchase by WBSEDCL
Source: 1) Actual RPO details from respective APR Application 2) Target RPO figures from WBERC 3)RE potential data from MNRE’s Akshay Urja Portal 4) Actual installed capacity as on January 2022 from MNRE
Chart: RE Potential vs Installed Capacity as on January 2022 (in MW)
| Solar | Bio-Mass | Waste to Energy | Small Hydro Power | Wind | Total
Potential | 6260 | 396 | 148 | 392.06 | 2 | 7198.06
Actual Installed Capacity | 165.99 | 319.92 | 1.17 | 2.8 | 0 | 586.94
With respect to Renewable Purchase Obligation (RPO), total RPO figures have drastically reduced in comparison to previous years, although target has increased
Decrease in actual RPO can be because Total RE purchase has decreased from 890.55 MUs in FY 2019-20 to 384.37 MUs in FY 2020-21 (reduction by ~57%)
Largest share of RE potential in West Bengal comes from Solar (6.26 GW) out of which only 0.17 GW solar capacity has been installed as on January 2022 (Less than 3%)
*Note: Estimated actual RPO figures calculated from WBSEDCL Annual Report 2020-21
Source: RE potential data from MNRE’s Akshay Urja Portal
Chart: WEST BENGAL RPO TARGET vs ACHIEVEMENT
| FY 18 | FY 19 | FY 20 | FY 21
Solar RPO Target | 0.003 | 0.004 | 0.005 | 0.03
Solar RPO Achieved | 0.0038 | 0.0044 | 0.0051 | 0.0047
Column2
Non-Solar RPO Target | 0.057 | 0.057 | 0.057 | 0.09
Non-Solar RPO Achieved | 0.0364 | 0.0345 | 0.0311 | 0.0106

## Slide 36: Significant opportunity for further RE capacity addition in West Bengal
Chart: Utility-wise Solar Portfolio
| WBSEDCL | WBPDCL | DPL
Commissioned | 112.54 | 32.62 | 0.5
Under Construction | 297 | 10 | 0
Proposed Pipeline | 2217 | 47.5 | 27
Source: 1) Solar portfolio of WBSEDCL taken from Annual report 2020-21 2) Solar portfolio data of WBPDCL and DPL from respective utilities and their website 3) Small HEP portfolio data taken from WBSEDDCL Annual report 2020-21
Figures in MW
As per Clause No. 5.10.4 (Page No. 38) of WBSEDCL Tariff Order for 7th Control Period, Commission stated that except for solar RPO target for 2020 — 21 , WBSEDCL has yet to fulfil the solar and non-solar RPO targets during the seventh control period. In this respect WBSEDCL is directed to tie up with renewable sources through long-term PPAs instead of relying on the short-term market.
Type of Project | Project Name
Solar Project | Floating Solar, BkTPP (1x500 MW)
 | Floating solar stg-2 & 3 SgTPP ( 1x10 MW & 1x5 MW) Floating Solar, STPS (1x 7.5 MW & 1x5 MW) Ground Solar , STPS ( 1x20 MW)
Island Solar Project | Nayachar Solar Project ( 1200 MWp)
Dam Project | 1200 MW Kangsabati Project 270 MW Teesta Project 155 MW Tilpara Project
Details of Upcoming RE Projects for WBPDCL
Details of Upcoming RE Projects for WBSEDCL
REW | Project Details
Solar Ground Mounted | 2 X 10 MW Ground Mounted Project at Gangapur, Block-Rajnagar, Birbhum
 | 125 MW Goaltore Solar Park Project Phase-II
Roof Top Solar | 10 MW Rooftop Solar Power Project across West Bengal (Domestic)
Agri Solar | Solarisation of 700 No Agricultural Pump Under Kusum – C Burdwan & Hooghly (5 MWp) Solarisation of 23000 No Agricultural Pump Under Kusum – C
Floating Solar | PPSP 10 MW Floating Solar Project, (Upper Dam)Barria Mouja, Ajodhya Hills, Dist –Purulia
PPSP | 1000 MW Kulbera 1000 MW Katlajaal

## Slide 37
Adopting restructured Subsidy Model for WBSEDCL

## Slide 38: Introduction on Govt. of West Bengal Electricity Tariff Subsidy
As per order of Govt. of West Bengal, State Govt. subsidy for electricity consumption is provided to the following consumer category through their energy bills.
The amount payable by consumer is determined after deducting the eligible amount of Govt. subsidy from Gross bill amount of respective consumers (Based on Tariff approved by WBERC & consumption slab)
Presently Domestic consumers are under Quarterly billing system and agriculture consumers are monthly billing system. Govt. subsidy is extended to only following consumer category ( Details set along side)
.
Life Line (Domestic) Consumer (means Domestic consumers having contract demand upto 0.3 KW and quarterly consumption of electricity upto 75 units or monthly consumption upto 25 units) : Govt. subsidy is provided against entire energy bill including meter rent (i.e Zero Bill)
[In any quarter, if consumption > 75 unit, then treated as Domestic (Rural / Urban)]
Domestic (Rural/Urban) Consumer : Domestic consumer having monthly consumption of electricity upto 300 units has been provided Govt subsidy on energy Charge (slabwise), Fixed Charge & MVCA.
[In any quarter, if consumption > 900 unit, no govt. subsidy is provided)]
Agriculture Consumer: Agriculture consumer having monthly consumption of electricity upto 300 units has been provided Govt subsidy on energy Charge, Fixed Charge & MVCA
[In any month, if consumption > 300 unit, no govt. subsidy is provided)]
Back to Home
5

## Slide 39
The following table highlights the subsidy amount outlay by Govt. West Bengal for the WBSEDCL consumers
Subsidy Outlay– Consumer Category wise
Category of Consumer | No of distinct consumer availed Govt. subsidy (In Lakhs) | Amount of Govt Subsidy (Rs Crore)
Domestic | 110 | 1088.97
Agriculture | 3 | 24.96
Life line Domestic | 72 | 260.10
Total | 185 | 1374.03
Govt Subsidy Outlay during 2020-21
Particulars ( All Figures are in Rs Crores) | FY 20-21 | FY 21-22
Govt Subsidy Claimed & Received | 1374.03 | 1530.53
Subsidy Received by WBSEDCL consumers other than Hasir alo(lifeline) | 1113.93 | 1206.82
Subsidy Received by WBSEDCL consumers Hasir alo(lifeline) | 260.10 | 323.71
Govt Subsidy Outlay during Last 2 Years
Back to Home
5

## Slide 40: Tariff Subsidy Scenarios for WBSEDCL
Chart: 
| 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22
Lifeline and Domestic Consumer Subsidy | 316.1611 | 340.5041 | 2234.7888 | 2343.7172 | 2960.2031 | 3106.0536 | 316.1611 | 340.5041 | 2234.7888 | 2343.7172 | 2960.2031 | 3106.0536
Other domestic consumer subsidy | 1000.0201 | 1047.6715 | 657.176 | 690.2559 | 539.1391 | 566.6454 | 858.4765 | 898.3427 | 515.6323 | 540.9272 | 397.5954 | 417.3166
Agricultural consumer subsidy | 24.1699 | 23.6522 | 24.1699 | 23.6522 | 24.1699 | 23.6522 | 24.1699 | 23.6522 | 24.1699 | 23.6522 | 24.1699 | 23.6522
Total Subsidy | 1340.3511 | 1411.8278 | 2916.1347 | 3057.6253 | 3523.512 | 3696.3511 | 1198.8074 | 1262.4991 | 2774.591 | 2908.2965 | 3381.9683 | 3547.0224
Chart: 
| 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22 | 2020-21 | 2021-22
AT & C Loss reduction | 0 | 0 | 0.0233 | 0.0244 | 0.0323 | 0.0338 | 0 | 0 | 0.0212 | 0.0222 | 0.0302 | 0.0316
AT & C Loss Reduction**
Scenario 1
(existing)
Scenario 2
Scenario 3
Scenario 4
Scenario 5
Scenario 6
lifeline and domestic consumers monthly consumption.*
Other domestic consumers monthly consn.
Up to 25 kwh | Up to 50 kwh | Up to 75 kwh | Up to 25 kwh | Up to 50 kwh | Up to 75 kwh
Up to 300 kwh | Up to 300 kwh | Up to 300 kwh | Up to 200 kwh | Up to 200 kwh | Up to 200 kwh
*Lifeline and Domestic consumers, other domestic consumers and agricultural consumers monthly consumption has been calculated using the projections of FY 2020-21 and FY 2021-22 MYT Petition.
**For computation of AT& C Loss reduction for FY 2020-21 & FY 2021-22, the base figures have been considered based on Annual account of FY 2020-21.
Figures in Rs. Crore.
Please refer to Annexure-2 for current subsidy Details
AT&C Loss
5

## Slide 41
Benchmarking: States with high industrial energy consumption and RE energy portfolio

## Slide 42
Gujarat : Analysis of Power Portfolio from different sector and tariff rate comparison for different category of consumer
Chart: 
| Private | Central | State | Renewable | Total
Power Purchase in MU (%) | 0.22 | 0.35 | 0.27 | 0.16 | 1
Average Power Purchase rate ( Rs / KWh) | 4 | 3.3 | 3.3 | 4 | 3.5085
Power Purchase (In MUs) Vs Average Power Purchase Cost ( Rs. / KWh)
Chart: 
| Domestic | Non Domestic | Agricultural | Industrial | Other | Total
Energy Sale in MU (%) | 0.15422 | 0.17108 | 0.23089 | 0.41113 | 0.032683 | 1
Revenue in Crore (% ) | 0.13712 | 0.219 | 0.069323 | 0.5456 | 0.028954 | 1
Average Triff Rate ( Rs/KWh) | 3.741 | 5.3858 | 1.2632 | 5.5835 | 3.7273 | 4.2074
Comparison of Average Tariff Rate of Different Category of Consumer
110299 MU
36676 Cr
87170 MU
Around 31% of renewable portfolio
Average Power Purchase Cost is Rs. 3.5 / KWh
Average energy sale to Industrial consumer is nearly 41% in MUs and 55% in Revenue.
Average Applicable tariff to Industrial consumer is Rs. 5.58 / KWh
Source : Tariff Order for FY 2021-22 and https://www.gercin.org/wp-content/uploads/2020/09/Statistical-.pdf
Chart: 
| Thermal | Hydro | RES | Nuclear
Installed Capacity (MW) | 18134 | 779 | 8757 | 559
Sector wise Installed Capacity (In MW)
Total Capacity : 28229 MW

## Slide 43
Andhra Pradesh: Analysis of Power Portfolio from different sector and tariff rate comparison for different category of consumer
Chart: 
| Thermal | Hydro | RES | Nuclear
Installed Capacity (MW) | 14714.46 | 1673.6 | 9196.25 | 127.27
Sector wise Installed Capacity (In MW)
Total Capacity : 25712 MW
Chart: 
| APGENCO - Thermal | APGENCO - Hydel | Central | Renewable | Other | Total
Power Purchase in MU ( in %) | 0.29542 | 0.047416 | 0.19932 | 0.23528 | 0.22257 | 1
Average Power Purchase Cost ( Rs / KWh) | 4.7275 | 1.912 | 4.0424 | 2.5497 | 4.4189 | 3.8764
Total Power Purchase (In MUs) Vs Average Power Purchase Cost ( Rs. / KWh)
Chart: 
| Domestic | Commercial | Industrial | Agricultural | Other | Total
Energy Sale in MU (%) | 0.28738 | 0.078892 | 0.264 | 0.31338 | 0.056352 | 1
Revenue in Crore (% ) | 0.23398 | 0.16778 | 0.3887 | 0.12127 | 0.088261 | 1
Average Triff Rate ( Rs/KWh) | 4.1633 | 10.875 | 7.5289 | 1.9789 | 8.009 | 5.1135
Comparison of Average Tariff Rate of Different Category of Consumer
67756 MU
31164 Cr
60944 MU
Around 36% of renewable portfolio
Average Power Purchase Rate is Rs. 3.88 / KWh
Average energy sale to Industrial consumer is nearly 26% in MUs and 39% in Revenue.
Average Applicable tariff to Industrial consumer is Rs. 7.5 / KWh
Source : Tariff Order for FY 2021-22 and CEA Report on Installed Capacity

## Slide 44
Rationalization of Tariff Structure

## Slide 45
Comparison of Industrial tariff Rate vs average tariff rate of different states
Chart: 
| Chandigarh | Haryana | Gujarat | Andhra Pradesh | Maharshtra | West Bengal
Industrial Average Tariff ( Rs/KWh)* | 5.79 | 6.44 | 5.26 | 8.44 | 9.47 | 9.95
Average Billing Rate considering all consumer categories ( Rs /KWh) | 5.22 | 5.1 | 4.7 | 5.11 | 7.26 | 6.98
** Average Tariff rate includes fixed charge, variable charges and electricity duty
Source : https://cea.nic.in/wp-content/uploads/2021/03/tariff_2019.pdf , ERC Order of different states and Annual report of WBSEDCL , pg 191 of 225 (250kW large industry 40% LF)
Average tariff rate for 11 KV Industrial Consumer and Average Billing Rate ( At Load Factor 40%)
Industry Intensive state like Gujarat, Andhra Pradesh have lower Industrial Tariff.
Chart: 
| Chandigarh | Haryana | Gujarat | Andhra Pradesh | Maharshtra | West Bengal
Industrial Average Tariff ( Rs/KWh)* | 5.79 | 6.35 | 6.81 | 7.95 | 9.72 | 9.9
Average Billing Rate considering all consumer categories ( Rs /KWh) | 5.22 | 5.1 | 4.7 | 5.11 | 7.26 | 6.98
Average tariff rate for 33 KV Industrial Consumer and Average Billing Rate (Load Factor of 40%)
Back to Home
6

## Slide 46: Domestic LV Fixed charges for West Bengal is much lesser as compared to other states
Chart: Domestic LV Fixed Charge
| WBSEDCL erstwhile DPL Rs/KVA/month | WBSEDCL Rs/KVA/month | IPCL Rs/KVA/month | CESC Rs/KVA/month | TPDDL (0-2 kW connection) | TPDDL (2-5 kW connection) | TPDDL (5-15 kW connection) | BRPL (0-2 kW connection) | BRPL (2-5 kW connection) | BRPL (5-15 kW connection) | BESCOM Urban (0-1 kW) | BESCOM Urban (1-50 kW) | BESCOM Urban (above 50 kW) | BESCOM Rural (0-1 kW) | BESCOM Rural (1-50 kW) | BESCOM Rural (above 50 kW) | JBVNL rural per KW connnection | JBVNL Urban per KW connnection | MAHADISCOM | Tata Power - 0-100 KWh | Tata Power - 100-300 KWh | Tata Power - 301-500 KWh | Tata Power - above 500 KWh | Adani - 0-100 KWh | Adani - 100-300 KWh | Adani - 301-500 KWh | Adani - above 500 KWh | West Bengal | Delhi | Karnataka | Jharkhand | Maharashtra
 | 15 | 15 | 15 | 15 | 20 | 50 | 100 | 20 | 50 | 100 | 85 | 95 | 150 | 70 | 85 | 140 | 75 | 150 | 105 | 115 | 165 | 175 | 185 | 80 | 120 | 120 | 145
Back to Home
6

## Slide 47: Domestic HV Fixed Charge Comparison
As can be seen from above, Domestic Fixed charges for HV connections for West Bengal are considerably lower compared to other states
Chart: HV (including Group Housing Society) Fixed Charge Comparison
| WBSEDCL erstwhile DPL Rs/KVA/month | WBSEDCL Rs/KVA/month | IPCL Rs/KVA/month | CESC Rs/KVA/month | TPDDL (15-25 kW connection) | TPDDL (above 25 kW connection) | TPDDL - Group Housing Society | BRPL (15-25 kW connection) | BRPL (above 25 kW connection) | BRPL - Group Housing Society | BESCOM | JBVNL | MAHADISCOM - All Units | MAHADISCOM - Group Housing Society | Tata Power - All Units | Tata Power - Group Housing Society | Adani - All units | Adani - Group Housing Society | West Bengal | Delhi | Ktk | JH | Maharashtra
 | 25 | 35 | 36 | 26 | 200 | 250 | 150 | 200 | 250 | 150 | 155 | 300 | 362 | 362 | 500 | 500 | 355 | 355
Back to Home
6

## Slide 48
Potential for WBSEDCL to increase revenue in DVC command area in West Bengal
 | 33 kV | 132 kV
No. of Consumers | 90-120 | 10-15
Sales (MUs) | 4000-4500 | 450-550
Consumer No. and sales for DVC
Comparative Tariff Schedule For HT-industry Category In DVC Command Area
Significant potential for improving sales mix and high value consumers for WBSEDCL
 |  | BASE RATE : ENERGY CHARGE (IN PAISE/KWH) |  |  |  |  |  |  |  | 
Consumer Category |  | WBSEDCL (Notification 16-11-19) |  |  | DVC (Tariff Order dtd 05-05-22) |  |  | DPL (Tariff Order dtd 28-03-22) |  | 
 | TOD slab | Summer | Monsoon | Winter | Summer | Monsoon | Winter | Summer | Monsoon | Winter
HT-Industry (33 KV) | Normal | 424 | 422 | 420 | 459 | 457 | 455 | 422 | 420 | 418
 | Peak | 508 | 506 | 503 | 550 | 548 | 545 | 496 | 494 | 491
 | Off-peak | 361 | 359 | 358 | 391 | 388 | 388 | 359 | 357 | 355
HT-Industry (132 KV) | Normal | 409 | 407 | 405 | 444 | 442 | 440 | 417 | 415 | 412
 | Peak | 491 | 488 | 486 | 533 | 530 | 528 | 490 | 488 | 484
 | Off-peak | 348 | 346 | 344 | 377 | 376 | 374 | 354 | 353 | 350
 | DEMAND CHARGE (IN RS/KVA/MONTH) |  | 
 | WBSEDCL (Notifications ) | DVC (Tariff Order dtd 05-05-22) | DPL (Tariff Order dtd 28-03-22)
All the aforesaid categories | 384 | 384 | 320

## Slide 49: WBSEDCL: Historically there has been significant delay in issuance of Tariff/APR/FPPCA Orders and release of admitted APR/FPPCA amounts; APR/FPPCA orders from FY 19 onwards have not been issued
Source: WBERC Tariff, APR and FPPCA Orders for WBSEDCL
Tariff Order
APR Order
FPPCA Order
Apr ‘11
Apr ‘12
Apr ‘14
Apr ‘15
Apr ‘13
Apr ‘17
Apr ‘18
Apr ‘16
Apr ‘20
Apr ‘21
Apr ‘19
Apr ‘22
Apr ‘23
Avg. delay in Tariff order issuance: 512 days
Avg. delay in APR and FPPCA order issuance: 1252 days
Chart: 
| FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18
Column1 | 40633 | 40999 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 43921 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555
Notional date for order issuance | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in issuance of order (days) | 611 | 245 | 270 | 338 | 132 | 211 | 460 | 1243 | 878 | 727 | 162 | 73 | 2297 | 2043 | 1770 | 1411 | 1081 | 114 | 0 | 2297 | 2043 | 1770 | 1411 | 1081
Actual Order Issuance Date | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Column2 | 3097 | 2824 | 232 | 120 | 28 | 22 | 0 | 3145 | 2897 | 232 | 120 | 28 | 22 | 0
Column3 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in release of admitted amount: 3284 days
Delay in release of admitted amount: 3284 days
Delay: 2922 days
Notional date for Order issuance
Actual Order issuance date
Delay (in days)
APR/FPPCA amount release date
APR and FPPCA Orders from FY 19 onwards have not been issued
Delay: 2554 days
Delay: 2188 days
Delay: 1823 days
Delay: 1458 days
Delay: 1093 days
Delay: 2922 days
Delay: 2554 days
Delay: 2188 days
Delay: 1823 days
Delay: 1458 days
Delay: 1093 days

## Slide 50: Delayed release of admitted APR/FCA/FPPCA amounts has resulted in carrying cost burden; Rs. 126.37 Cr (WBSEDCL) yet to be released
Order | Admitted Amount (Rs. Cr.) | Delay in release (days) | Carrying Cost (Rs. Cr.)
FY 12 APR Review | 2.84 | 3284 | 3.60
FY 13 APR + Review | 1,997.31 | 338 – 2922 | 735.64
FY 14 APR | 2,517.03 | 2297 – 2554 | 2,316.73
 | 64.54 | Not yet released | 62.96
FY 15 APR | 92.95 | Not yet released | 76.86
FY 16 & FY 17 APR | 2,359.64 | Not yet released | 1,507.71
FY 18 APR | 509.29 | Not yet released | 203.94
 | 61.83 | Not yet released | 24.83
Total |  |  | 4,932.27
Claims of WBSEDCL for pending APR and FPPCA Orders (Rs. Cr.) – status as on 31.03.2022
Total Claim
Carrying Cost
Grand Total
FY19
FY20
Note: Carrying costs have been computed on simple interest basis; SBI PLRs as on the 1st April of the preceding years have been considered as interest rates as per WBERC Tariff Regulations; Carrying costs have been computed till 31.03.2022; For unreleased amounts, carrying costs have been computed till 31.03.2022

## Slide 51
Deloitte refers to one or more of Deloitte Touche Tohmatsu Limited, a UK private company limited by guarantee (“DTTL”), its network of member firms, and their related entities. DTTL and each of its member firms are legally separate and independent entities. DTTL (also referred to as “Deloitte Global”) does not provide services to clients. Please see www.deloitte.com/about for a more detailed description of DTTL and its member firms.
This material has been prepared by Deloitte Touche Tohmatsu India LLP (“DTTILLP”), a member of Deloitte Touche Tohmatsu Limited, on a specific request from you and contains proprietary and confidential information. This material may contain information sourced from publicly issued information or other third party sources. DTTILLP does not independently verify any such sources and is not responsible for any loss whatsoever caused due to reliance placed on information sourced from such sources. The information contained in this material is intended solely for you. Any disclosure, copying or further distribution of this material or its contents is strictly prohibited.
Nothing in this material creates any contractual relationship between DTTILLP and you. Any mutually binding legal obligationsorrights may only be created between you and DTTILLP upon execution of a legally binding contract. By using this material and any information contained in it, the user accepts this entire notice and terms of use.
©2022 Deloitte Touche Tohmatsu India LLP. Member of Deloitte Touche Tohmatsu Limited
Deloitte Touche Tohmatsu India Private Limited (U74140MH199 5PTC093339), a private company limited by shares, was converted into Deloitte Touche Tohmatsu India LLP, a limited liability partnership (LLP Identification No. AAE-8458),with effect from October 1, 2015.

## Slide 52: Annexures

## Slide 53
Accumulation of Regulatory Assets and existing loan burdens

## Slide 54: Delay in issuance of Tariff orders and long-pending APR/FPPCA orders have led to accumulation of Regulatory Assets and Working Capital loan burden
Chart: 
| WBPDCL | DPL | WBSETCL | WBSEDCL
FY 20 Tariff Order | 836 | 593 | 626 | 878
FY 21 Tariff Order | 556 | 472 | 451 | 727
FY 22 Tariff Order | 191 | 107 | 86 | 362
For WBPDCL and DPL, no APR / FCA orders issued from FY 15 onwards
For WBSETCL, no APR orders issued from FY 16 onwards
For WBSEDCL, no APR / FPPCA orders issued from FY 19 onwards
Delay (in days) in tariff order issuance
Status of APR / FCA / FPPCA order issuance
Regulatory asset (Rs. Cr.)
Chart: 
| WBPDCL | DPL | WBSEDCL
As on FY 19 end | 5208.3162 | 594.47 | 13140.72
As on FY 20 end | 6254.1908 | 747.6584 | 15519.14
Interest on Working Capital Loan (Rs. Cr.)
Chart: 
| WBPDCL | DPL | WBSEDCL
FY 2019-20 | 306.7105 | 4.5351 | 605.19
Data source: WBERC Tariff/APR/FCA/FPPCA Orders; WBERC website; Utility Annual Reports
Movement of Regulatory Assets and Interest on Working Capital Loans as per Annual Reports of WBSEDCL

## Slide 55
Open Access

## Slide 56: Cost structure for power purchase through Open Access
  Landed cost = Power purchase cost + System Operation charges + Transmission losses & charges + Trader margin / PX charges + Wheeling losses & charges + CSS + Other applicable charges
  Other applicable charges may include Meter charges, NOC charges, Renewal charges, Additional surcharge, UI charges, Electricity Duty, Banking charges, etc.
Buyer
Generator
Cross Subsidy Surcharge (CSS)
Wheeling losses & charges
Transmission losses & charges
Generation cost
Trader margin / PX charges
System Operation charges
Transmission network
Distribution network
Landed cost
Trader / PXs
*
#
Not applicable for procurement through Captive route / Group captive route
*
Charges will depend on voltage level of connectivity of both generator & Buyer and state-level regulations
#

## Slide 57: State wise snapshot of Open Access consumers
Legend | 
No of OA consumers | Colour code
Above 500 | 
300 to 500 | 
100 to 300 | 
20 to 100 | 
Below 20 | 
States like AP, Tamil Nadu and Gujarat have the highest concentration of OA consumers, followed by Rajasthan, Punjab and Haryana.
Apart from Power Exchanges, OA consumers also source power from –
  Generator
  Trader
  Captive power plants
Source: CERC Report on Short-term Power Market in India, 2015-16
State-wise number of OA consumers sourcing power through PXs as on Mar 31, 2016

## Slide 58
Annexure

## Slide 59
Constituent | Station | Share in MW | Rate (Apr-Dec) 2019
WBSEDCL HYDEL | RHP (Rammam) | 51 | 
 | JHP (Jaldhaka) | 44 | 
 | TCF (Teesta Canal) | 68 | 
 | Massanjore Hydel Project | 4 | 
 | Rinchington Hydel Project | 2 | 
 | Little Rangit Hydel Project | 2 | 
 | Mungpoo Kalikhola hydel project | 3 | 
 | Sidrapong Hydel Project | 0.33 | 
 | Fazi Hydel project | 1.1 | 
 | PPSP | 900 | 
 | Total | 1075 | 
WBSEDCL | TCF Solar | 20 | 
 | Salboni solar | 10 | 
 | Patni solar | 10 | 
 | Mejia Solar | 10 | 
 | Chharrah solar | 10 | 
 | Total | 60 | 
WBPDCL | BTPS (bandel) | 335 | 4.74
 | STPS (Santaldih) | 500 | 4.12
 | KTPP (Kolaghat) | 1260 | 4.74
 | BkTPP (Bakreshwar) | 1050 | 3.8/3.88
 | SgTPP (Sagardighi) | 1600 | 4.68/4.78
 | DPL | 550 | 4.07
 | Total | 5295 | 
Annexure-I
State Signed PPA’s
@ 2020 Deloitte Touche Tohmatsu India LLP

## Slide 60
Constituent | Station | Share in MW | Rate (Apr-Dec) 2019
ISGS Share | Farakka-I&II | 511 | 3.37
 | Farakka-III | 188 | 4.11
 | Talcher Stage-I | 92 | 3.03
 | MTPS-II (Kanti Muzzafarpur) | 38 | 6.39
 | KHSTPP-I (Kahalgaon) | 51 | 3.22
 | Tala | 390 | 2.13
 | Chukha | 86 | 2.37
 | Mandechu | 231 | 4.19
 | Teesta | 122 | 2.22
 | Rangeet | 17 | 3.69
 | Kuruchu | 30 | 2.17
 | TLDP 3 | 132 | 6.31
 | TLDP 4 | 160 | 2.68
 | DVC Mejia Unit V | 50 | 5.14
 | Total | 2098 | 
Bundle Power | Solar | 50 | 10.71
 | Farakka Stage I&II | 15 | 3.37
 | Farakka stage III | 5 | 4.11
 | Kahalgaon stage I | 8 | 3.22
 | Kahalgaon stage II | 14 | 3.22
 | Talcher stage I | 9 | 3.03
 | Thermal total | 51 | 
 | Total | 101 | 
Constituent | Station | Share in MW | Rate (Apr-Dec) 2019
State Signed PPAs
@ 2020 Deloitte Touche Tohmatsu India LLP

## Slide 61
Constituent | Station | Share in MW | Rate (Apr-Dec) 2019
From outside merchant capacity | Baghlier | 100 | 3.67
 | Adhunik Power | 100 | 3.09
 | MPL | 283 | 4.81
 | DVC Raghunathpur | 204 | 4.86
 | Dagachhu | 126 | 3.67
 | GoHP | 235 | 3.88
 | Stressed Asset | 200 | 4.24
 | SIPL Solar | 5 | 11.52
 | Total | 1253 | 
Radial Power | CESC |  | 6.53
 | DVC |  | 4.51
 | APDCL-Assam for Jhaukuthi |  | 9.27
 | JBVNL-Jharkhand |  | 9.27
 | Sikkim |  | 6.6
State Signed PPAs
@ 2020 Deloitte Touche Tohmatsu India LLP

## Slide 62: List of solar power projects for WBSEDCL (1/2)
# | Name of the Project | Present Status | Total Capacity (MW) | Generation (MU) | CUF (%)
Commissioned |  |  |  |  | 
1 | 2.4 MW Grid Connected Solar Schools Rooftop Programme | Project Completed. | 2.4 | 0.48 | 2.27%
2 | 4.715 MW (Revised) Rooftop Solar PV Plant (5 kWp each) Project under IPDS Programme | Project Completed. | 4.7 | 4.06 | 9.84%
3 | 5.425 MW (revised, earlier 10.5 MW) Rooftop Solar PV Plant (Min. 10 kWp each) Project under Alo Shree Programme | Project Completed. | 5.42 | 3.15 | 6.62%
4 | 10 MW Teesta Canal Bank Solar PV Power Project | Project Completed | 10 | 10.13 | 11.56%
5 | 10 MW Solar PV Project at Khemasuli (Patni), Paschim Medinipur. | Project completed | 10 | 14.16 | 16.16%
6 | 10 MW Solar PV Project at Salboni, Paschim Medinipur | Project completed. | 10 | 13.53 | 15.45%
7 | 10 MW Solar PV power plants on canal top of TCFHP Tail Race Canal, Stage II Power Station at Haptiagachh in Uttar Dinajpur District. | Project completed. | 10 | 11.60 | 13.24%
8 | 10 MW Solar PV Project at Chalbalpur Raniganj, Burdwan | Project completed. | 10 | 2.46 | 5.60%
9 | 10 MW SPV Project at Dhaka - I at Birbhum, West Bengal | Project completed. | 10 | 5.90 | 14.04%
10 | 10 MW SPV Project at Dhaka - II at Birbhum, West Bengal | Project completed. | 10 | 4.27 | 7.51%
11 | 10 MW Solar PV Project at Mejia, Bankura* | Retendered for redesign and recommissioning | 10 | 0 | 0.00%
12 | 10 MW Solar PV Project at Charrah, Purulia* | Retendered for redesign and recommissioning | 10 | 8.84 | 10.09%
13 | 10 MW Solar PV Project at Santaldih, Purulia* | Retendered for redesign and recommissioning | 10 | 0 | 0.00%
Sub-total |  |  | 112.54 | 78.57 | 10.22%
*Commissioned projects, however, same have been retendered for revamp

## Slide 63: List of solar power projects for WBSEDCL (2/2)
# | Name of the Project | Present Status | Total Capacity (MW)
Under Construction |  |  | 
14 | 50 MWp aggregate Solar PV rooftop projects | EOI issued | 50
15 | 10 MW Solar PV Project at Koltaldih (Phase - I), Asansol, Burdwan district | Exp Commissioning Jun 2021 | 10
16 | Cumulative 7 MW solar PV (solarization of pumps) under KUSUM scheme (Component C) | LOI placed for 4 packages on 26th Feb 2021. Evaluation underway for 2 packages and last package cancelled due to non-availability of bidders | 7
17 | 10 MW Solar PV Project at Sankrail (earlier Srirampur), Jhargram, Paschim Medinipur district | Exp Commissioning Sep 2021 | 10
18 | 10 MW ground mounted solar at Asansol (Phase - I) (Koltaldih, Asansol, Burdwan) | Exp Commissioning Jun 2021 | 10
19 | 125 MW (Ph-I) and 75 MW (Ph-II)solar PV plant at Purba Medinipur | Exp Commissioning Jan 2022 | 200
20 | 10 MW Solar PV Power Plant at Kalpani-Baldiahati at Coochbehar District | DPR has been submitted to the Power & NES Dept. GoWB for sanction under RIDF scheme of NABARD. | 10
21 | 02 MW Solar PV Power Plant at Chiranjibpur, Haldia |  | 
22 | 04 MW Solar PV Project at Koltaldih (Phase - IA), Asansol, Burdwan district |  | 
23 | 10 MW Solar PV Power Plants at Mahananda Main Canal, Uttar Dinajpur |  | 
Sub-total |  |  | 297
Proposed pipeline |  |  | 
24 | Mega solar park on 6000 acres of land in Nayachar Island of 1200 – 1300 MW to be split into 50 MW units for private entrepreneurs | Proposed | 1200-1300
25 | 500 MW Floating Solar Plant on Bakreswar Dam | Approved by State Cabinet | 500
26 | 300 MW Floating Solar Plant on Kangasabati Dam | Proposed | 300
27 | 125 MW Solar Park Project at Goaltore (Paschim Medinipur) | In principle approval of State Govt. | 125
28 | 20MW capacity Ground mounted Grid connected 10MW capacity each Solar Photo Voltaic Plant at Gangapur Mouza, Block – Rajnagar Dist.Birbhum | RIDF – XXVII NABARD | 20
29 | 10MW Solar Plant at PPSP Upper Dam Reservoir | RIDF – XXVII NABARD | 10
30 | 60 MWp Roof Top Solar PV Project in residential area under WBSEDCL Command Area. | MNRE | 60
Sub-total |  |  | 2215-2315

## Slide 64: List of solar power projects for WBPDCL
# | Name of the Project | Present Status | Total Capacity (MW)
Commissioned |  |  | 
1 | 40 KW Rooftop Solar PV Plant at Bidyut Unnayan Bhaban | Project Completed. | 0.04
2 | 2 X 3 KW Solar Tree was installed at Bidyut Unnayan Bhaban | Project Completed. | 0.006
3 | Roof Top Solar PV plants on the roofs of 71 buildings of its power plants | Project Completed. | 10.54
4 | 10 MW AC Grid Connected Ground mounted Solar PV project | Project Completed. | 10
5 | 5 MW AC Grid Connected Floating Solar PV project at Raw Water Pond No. 3, SgTPP | Project Completed. | 5
6 | 2.866 MWp RTS PV projects at Bakreswar plant | Project Completed. | 2.87
7 | 2.27 MWp RTS PV project at Kolaghat plant | Project Completed. | 2.27
8 | 1.08 MWp RTS PV project at Bandel plant | Project Completed. | 1.08
9 | 0.807 MWp RTS PV project at Santaldih plant | Project Completed. | .81
Sub-total |  |  | 32.62
Under construction |  |  | 
10 | 10 MW Grid Connected Floating Solar Project at Raw Water Pond #1, 2 & 4 at Sagardighi plant | Under execution | 10
Sub-total |  |  | 10
Proposed pipeline |  |  | 
11 | 10 MW Floating Solar Photovoltaic Power Plant on Raw Water Pond No 1 & 2 of Bakreswar plant | To be Awarded | 10
12 | 7.5 MW Floating Solar Photovoltaic Power Plant on Raw Water Pond No 2 & Dutta Bandh of Santaldih plant | To be Awarded | 7.5
13 | 5 MW Floating Solar Photovoltaic Power Plant on Raw Water Pond No 5 of Sagardighi plant | To be Awarded | 5
14 | 5 MW Floating Solar Photovoltaic Power Plant on Raw Water Pond No.1 in Santaldih plant | To be Awarded | 5
15 | Ground mounted Solar Project (2 X 10 MW) at Santaldih | To be Awarded | 20
Sub-total |  |  | 47.5

## Slide 65: List of solar power projects for DPL
# | Name of the Project | Present Status | Total Capacity (MW)
Commissioned |  |  | 
1 | 500 kWp Rooftop Solar PV project |  | 0.5
Sub-total |  |  | 0.5
Proposed pipeline |  |  | 
2 | 7 MW Ph-I Ground mounted solar PV under RIDF Tranche 24 | Under Tendering Stage | 7
3 | 20 MW Ground mounted solar PV under RIDF Tranche 27 | Application submitted for grant | 20
Sub-total |  |  | 27

## Slide 66: Reduction of Fixed Cost Obligation on WBSEDCL through decommissioning of relatively older plants of WBPDCL
From the perspective of WBSEDCL, retirement of the relatively older units (Unit 1&2) of both plants, viz. Kolaghat and Bandel can reduce the burden of Fixed Cost on the DISCOM by 6%
Impact on reduction of total Fixed Cost Obligation w.r.t WBPDCL would be INR 145.48 Cr and that for Capacity charge rate would be INR 0.05/kWh
Plant | Capacity (MW) | COD w.r.t Units (Range) | Contribution to FC Obligation | Total Fixed Cost Obligation (INR Crores) | Total Fixed Cost Obligation based on No. of Units sold by WBSEDCL (INR/kWh) | Total Fixed Cost Obligation (in INR/kWh) if Kolaghat and Bandel are decommissioned
Kolaghat (Unit 1,2) | 2x210 | 09.03.1986-09.09.1990 | 4% | 105.67 | 0.03 | -
Kolaghat (Unit 3-6) | 4x210 | 12.10.1984-01.04.1995 | 8% | 211.34 | 0.07 | 0.07
Bakreswar | 5x210 | 29.11.2000-27.06.2009 | 29% | 739.47 | 0.24 | 0.24
Bandel (1,2) | 2x60 | 04.09.1965-23.03.1983 | 2% | 39.81 | 0.01 | -
Bandel (Unit 5) | 215 | 04.10.1965-18.10.1965 | 4% | 91.77 | 0.03 | 0.03
Santaldih | 2x250 | 01.04.2009-30.09.2011 | 17% | 442.19 | 0.14 | 0.14
Sagardighi I | 2x300 | 07.09.2008-06.11.2008 | 11% | 276.74 | 0.09 | 0.09
Sagardighi II | 2x500 | 01.07.2016-20.12.2016 | 25% | 623.88 | 0.20 | 0.20
 |  |  | 100% | 2530.87 | 0.83 | 0.78
Source: For FY 2019-20 1)Actual figures from Tariff Petition for FY 2020-21, 2021-22, 2022-23. 2) Admitted figures from respective Tariff Order FY 2018-19,2019-20. 3) COD dates from WBPDCL
Chart: 
| Santaldih (Unit 5-6) | Sagardighi (Unit 1-2) | Sagardighi (Unit 3-4) | Bakreswar (Unit 1-5) | Kolaghat (Unit 1-6) | Bandel I (Unit 1-2) | Bandel II (Unit -5)
Admitted Fixed Cost (INR Crores) | 442.1925 | 389.0589 | 1028.3069 | 776.7507 | 534.1731 | 50.0161 | 140.0259
Fixed Cost Obligation (INR Crores) | 442.1925 | 276.7353 | 623.8798 | 739.4667 | 317.0139 | 39.8057 | 91.7746
Normative PAF | 0.85 | 0.85 | 0.85 | 0.85 | 0.75 | 0.7 | 0.85
Actual PAF | 0.8616 | 0.6046 | 0.5157 | 0.8092 | 0.4451 | 0.5571 | 0.5571
Total units sold by WBSEDCL is taken as 30599 Mus as per WBSEDCL Tariff Order pertaining to FY 2019-20

## Slide 67: Reduction of Energy Charge of WBPDCL through decommissioning of relatively older plants of WBPDCL
As can be seen from above, plants like Kolaghat and Bandel have comparatively higher Energy Charge rate; whereas actual PLF of these plants are relatively much lower than the other plants; thereby decommissioning of such plant units may be deliberated to reduce burden of Variable Cost on WBSEDCL
Source: 1)Actual figures from Tariff Petition for FY 2020-21, 2021-22, 2022-23. 2) Admitted figures from respective Tariff Order FY 2018-19,2019-20
Plant | Admitted Energy Charge Rate (INR/kWh) | Variable Cost allowed based on Admitted Energy charge rate (INR Cr.) | Allowed Variable Cost without Kolaghat and Bandel
Kolaghat (Unit 1,2) | 3.50 | 294 | 
Kolaghat (Unit 3-6) | 3.50 | 587 | 587
Bakreswar | 2.56 | 1,628 | 1,628
Bandel I (Unit 1,2) | 3.74 | 87 | -
Bandel II (Unit 5) | 2.92 | 153 | 153
Santaldih | 2.87 | 972 | 972
Sagardighi I | 2.69 | 614 | 614
Sagardighi II | 2.62 | 998 | 998
 |  | 5,332 | 4,952
Total Units sold by WBSEDCL in FY 2019-20 |  | 30599 Mus | 
Total Savings |  | INR 0.12/kWh | 
Chart: 
| Santaldih (Unit 5-6) | Sagardighi (Unit 1-2) | Sagardighi (Unit 3-4) | Bakreswar (Unit 1-5) | Kolaghat (Unit 1-6) | Bandel (Unit 1-2,5)
Admitted Energy Charge (INR Paisa /kWh) | 286.79 | 268.5 | 261.7 | 255.73 | 349.81 | 317.45
Normative PLF | 0.8 | 0.8 | 0.8 | 0.8 | 0.7 | 0.7
Actual PLF | 0.841 | 0.513 | 0.4544 | 0.7586 | 0.2595 | 0.2924

## Slide 68: Reduction of Fixed Cost Obligation on WBSEDCL through decommissioning of relatively older plants of WBPDCL maintaining same ROE
Source: For FY 2019-20 1)Actual figures from Tariff Petition for FY 2020-21, 2021-22, 2022-23. 2) Admitted figures from respective Tariff Order FY 2018-19,2019-20. 3) COD dates from WBPDCL
Name of WBPDCL Plants | Actual PLF | Modified PLF | Actual PAF | Modified PAF | Original Gross Generation including Kolaghat and Bandel (MU) | Modified Gross Generation | Actual ROE allowed including Kolaghat and Bandel (INR Cr) | Modified ROE based
Kolaghat (Unit 3-6) | 25.95% | 28.40% | 44.51% | 46.96% | 21118 | 2090 | 632.72 | 5849
Bakreswar (Unit 1-5) | 75.86% | 75.86% | 80.92% | 80.92% | 21118 | 6978 | 632.72 | 18698
Bandel (Unit 5) | 28.99% | 30.00% | 55.71% | 56.72% |  | 565 |  | 1979
Santaldih (Unit 5-6) | 84.10% | 84.10% | 86.16% | 86.16% |  | 3684 |  | 9448
Sagardighi (Unit 1-2) | 51.30% | 55.20% | 60.46% | 65.00% |  | 2901 |  | 9090
Sagardighi (Unit 3-4) | 45.44% | 56.00% | 51.57% | 58.00% |  | 4906 |  | 18191
 |  |  |  |  |  | 21123 |  | 632.55
Total savings in Fixed Cost Obligation keeping ROE intact (INR Cr.) | Total Savings in Fixed Cost Obligation (INR/kWh) | Total Savings in Variable Cost keeping ROE intact (INR Cr.) | Total Savings in Variable Cost (INR/kWh) | Total Savings in INR/kWh
~34 | 0.01 | 73 | 0.02 | 0.03

## Slide 69: Operational data w.r.t WBPDCL
 | Actual PAF (A) | Normative PAF (B) | Admitted Fixed Cost (INR Lakhs) (C) | Fixed Cost Obligation (INR Lakhs) (D)=(C)*(A)/(B)
Kolaghat (Unit 1-6) | 44.51% | 75% | 53417.31 | 31701.39
Bakreswar (Unit 1-5) | 80.92% | 85% | 77675.07 | 73946.67
Bandel I (Unit 1-2) | 55.71% | 70% | 5001.61 | 3980.57
Bandel II (Unit -5) | 55.71% | 85% | 14002.59 | 9177.46
Santaldih (Unit 5-6) | 86.16% | 85% | 44219.25 | 44219.25
Sagardighi (Unit 1-2) | 60.46% | 85% | 38905.89 | 27673.53
Sagardighi (Unit 3-4) | 51.57% | 85% | 102830.69 | 62387.98
 |  |  | 336052.41 | 253086.85
 | Capacity (MW) | Admitted Energy Charge (Paisa/kWh) | Actual PLF | Normative PLF | Variable Charge Based on Admitted Energy Charge Rate (INR Lakhs) | Actual Gross Generation (MU) | Actual APC (MU) | Actual Net Generation (MU)
Kolaghat (Unit 1-6) | 1260 | 349.81 | 25.95% | 70% | 244999.59 | 2871.67 | 354.00 | 2517.68
Bakreswar (Unit 1-5) | 1050 | 255.73 | 75.86% | 80% | 171709.77 | 6996.73 | 629.53 | 6367.20
Bandel I (Unit 1-2) | 120 | 373.89 | 29.69% | 65% | 22952.72 | 268.65 | 36.74 | 231.91
Bandel II (Unit -5) | 215 | 292.25 | 28.99% | 73% | 40180.2 | 592.41 | 70.10 | 522.31
Santaldih (Unit 5-6) | 500 | 286.80 | 84.10% | 80% | 91699.2 | 3693.58 | 304.68 | 3388.90
Sagardighi (Unit 1-2) | 600 | 268.50 | 51.30% | 80% | 103018.43 | 2510.73 | 223.30 | 2287.43
Sagardighi (Unit 3-4) | 1000 | 261.70 | 45.44% | 80% | 167349.06 | 4184.55 | 372.17 | 3812.38
Gross Total |  |  |  |  | 841908.97 | 21118.32 | 1990.52 | 19127.80

## Slide 70: Captive Coal Mines associated with WBPDCL– Current and Future Capacities
Source: For FY 2019-20 1)Actual figures from Tariff Petition for FY 2020-21, 2021-22, 2022-23. 2) Admitted figures from respective Tariff Order FY 2018-19,2019-20. 3) COD dates from WBPDCL
# | Names of Mines | District | Grade | Current production (MTPA) | Future Plans (MTPA)
1 | Panchura North | Jharkhand (Pakur Dist.) | G9 | 10 | 15
2 | Borjor North | Bankura | G13 | 2.25 | 3
3 | Borjora Coal Mine | Birbhum | G7 | 0.36 | Will End this year
4 | Gangaramchak Bhaduria | Birbhum | G11 | 1 | 
5 | Tara East & West | Bardhaman | G9 | - | 4
 |  |  |  | 13.61 | 22
Thus, from above table, it can be seen that additional 8.4 Million Tonnes Captive coal can be produced

## Slide 71: Coal mix proposed for Kolaghat as per WBDPCL tariff order w.r.t FY 2019-20
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 137397 | 4556.51 | 3.07%
 | G5 | 2224 | 4209.94 | 0.05%
 | G6 | 128268 | 3658.69 | 2.86%
 | G7 | 34478 | 3145.5 | 0.77%
 | G8 | 0 | 2358.78 | 0.00%
 | G9 | 0 | 2112.21 | 0.00%
BCCL | W-II | 0 | 4883.33 | 0.00%
 | W-III | 296539 | 4073.92 | 6.62%
 | W-IV | 182529 | 3903.3 | 4.07%
MCL | G12 | 60008 | 1715.81 | 1.34%
 | G13 | 1632424 | 1687.28 | 36.43%
MCL-W | G11 | 887495 | 1876.23 | 19.80%
CCL | WR3 | 59172 | 4066.81 | 1.32%
 | W4 | 462704 | 3220.87 | 10.33%
Captive-WB | G7 | 167475 | 3137.1 | 3.74%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 287101 | 2103.51 | 6.41%
 | G11 | 0 | 1859.25 | 0.00%
 | G13 | 143550 | 1677.63 | 3.20%
Captive-Jharkhand | G9 | 0 | 2031.12 | 0.00%
MSTC | G12 | 0 | 4457.2 | 0.00%
Import | G7 | 0 | 5766.48 | 0.00%
Total |  | 4481364 |  | 
 | Share (%) | Price (INR/MT)
Non-Captive | 86.65% | 2417.34
Captive | 13.35% | 2290.70

## Slide 72: Coal mix proposed for Bakreswar as per WBDPCL tariff order w.r.t FY 2019-20
 | Share (%) | Price (INR/MT)
Non-Captive | 81.74% | 4211.41
Captive | 18.26% | 2452.24
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 1663451 | 4556.51 | 42.86%
 | G5 | 27803 | 4209.94 | 0.72%
 | G6 | 209539 | 3658.69 | 5.40%
 | G7 | 39751 | 3145.5 | 1.02%
 | G8 | 0 | 2538.78 | 0.00%
 | G9 | 0 | 2112.21 | 0.00%
BCCL | W-III | 34783 | 4073.92 | 0.90%
 | W-IV | 100214 | 3903.3 | 2.58%
MCL | G12 | 0 | 1715.81 | 0.00%
 | G13 | 202491 | 1687.28 | 5.22%
MCL-W | G11 | 0 | 1876.23 | 0.00%
CCL | WR3 | 37088 | 4066.81 | 0.96%
 | W4 | 47283 | 3220.87 | 1.22%
Captive-WB | G7 | 239123 | 3137.1 | 6.16%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 469599 | 2103.51 | 12.10%
 | G11 | 0 | 1859.25 | 0.00%
 | G13 | 0 | 1677.63 | 0.00%
Captive-Jharkhand | G9 | 0 | 2031.12 | 0.00%
MSTC | G12 | 303737 | 4457.22 | 7.83%
Import | G7 | 0 | 5766.48 | 0.00%
ECFL (Beyond FSA) | G4 | 433944 | 4556.51 | 11.18%
 | G5 | 7253 | 4209.94 | 0.19%
 | G6 | 54662 | 3658.69 | 1.41%
 | G7 | 10370 | 3145.5 | 0.27%
 |  | 3881091 |  | 100%

## Slide 73: Coal mix proposed for Bandel (I&II) as per WBDPCL tariff order w.r.t FY 2019-20
 | Share (%) | Price (INR/MT)
Non-Captive | 76.75% | 2636.73
Captive | 23.25% | 2126.24
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 233522 | 4556.51 | 14.19%
 | G5 | 22420 | 4209.94 | 1.36%
 | G6 | 43092 | 3658.69 | 2.62%
 | G7 | 23574 | 3145.5 | 1.43%
MCL | G12 | 16533 | 1715.81 | 1.00%
 | G13 | 202526 | 1687.28 | 12.31%
MCL-W | G11 | 636080 | 1876.23 | 38.66%
Captive-WB | G7 | 47815 | 3137.1 | 2.91%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 239075 | 2103.51 | 14.53%
 | G11 | 0 | 1859.25 | 0.00%
 | G13 | 95630 | 1677.63 | 5.81%
Captive-Jharkhand | G9 | 0 | 2031.12 | 0.00%
MSTC | G12 | 85030 | 4420.07 | 5.17%
Import | G7 | 0 | 6332 | 0.00%
Total |  | 1645297 |  | 100%

## Slide 74: Coal mix proposed for Santaldih as per WBDPCL tariff order w.r.t FY 2019-20
 | Share (%) | Price (INR/MT)
Non-Captive | 74.26% | 4024.73
Captive | 25.74% | 1677.63
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 0 | 4556.51 | 0.00%
 | G5 | 0 | 4209.94 | 0.00%
 | G6 | 0 | 3658.69 | 0.00%
 | G7 | 0 | 3145.5 | 0.00%
 | G8 | 0 | 2358.78 | 0.00%
 | G9 | 0 | 2112.21 | 0.00%
BCCL | W-III | 1526141 | 4073.92 | 62.85%
 | W-IV | 173974 | 3903.3 | 7.16%
MCL | G12 | 0 | 1715.81 | 0.00%
 | G13 | 0 | 1687.28 | 0.00%
MCL-W | G11 | 0 | 1876.23 | 0.00%
CCL | WR3 | 0 | 4066.81 | 0.00%
 | W4 | 82191 | 3220.87 | 3.38%
Captive-WB | G7 | 0 | 3137.1 | 0.00%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 0 | 2103.51 | 0.00%
 | G11 | 0 | 1859.25 | 0.00%
 | G13 | 625045 | 1677.63 | 25.74%
Captive-Jharkhand | G9 | 0 | 2031.12 | 0.00%
MSTC | G12 | 20959 | 4603.32 | 0.86%
Import | G7 | 0 | 5953.03 | 0.00%
Total |  | 2428310 |  | 100%

## Slide 75: Coal mix proposed for Sagardighi I as per WBDPCL tariff order w.r.t FY 2019-20
 | Share (%) | Price (INR/MT)
Non-Captive | 75.00% | 4577.91
Captive | 25.00% | 2031.12
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 826831 | 4556.51 | 38.25%
 | G5 | 8339 | 4209.94 | 0.39%
 | G6 | 25792 | 3658.69 | 1.19%
 | G7 | 19664 | 3145.5 | 0.91%
 | G8 | 0 | 2358.78 | 0.00%
 | G9 | 0 | 2112.21 | 0.00%
BCCL | W-III | 11442 | 4073.92 | 0.53%
 | W-IV | 157376 | 3903.3 | 7.28%
MCL | G12 | 0 | 1715.81 | 0.00%
 | G13 | 0 | 1687.28 | 0.00%
MCL-W | G11 | 0 | 1876.23 | 0.00%
CCL | WR3 | 0 | 4066.81 | 0.00%
 | W4 | 0 | 3220.87 | 0.00%
Captive-WB | G7 | 0 | 3137.1 | 0.00%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 0 | 2103.51 | 0.00%
Captive-Jharkhand | G9 | 540399 | 2031.12 | 25.00%
MSTC | G12 | 205354 | 4382.9 | 9.50%
Import | G7 | 0 | 5661 | 0.00%
E-auction ECL |  | 214172 | 5785.01 | 9.91%
E-auction BCCL | W-IV | 152440 | 4355.5 | 7.05%
Total |  | 2161809 |  | 100%

## Slide 76: Coal mix proposed for Sagardighi II as per WBDPCL tariff order w.r.t FY 2019-20
 | Share (%) | Price (INR/MT)
Non-Captive | 75.00% | 4577.91
Captive | 25.00% | 2086.42
Source | Coal Grade | Qty(MT) | Price (INR/MT) | Share(%)
ECL | G4 | 1361243 | 4556.51 | 38.25%
 | G5 | 13728 | 4209.94 | 0.39%
 | G6 | 42463 | 3658.69 | 1.19%
 | G7 | 32374 | 3145.5 | 0.91%
 | G8 | 0 | 2358.78 | 0.00%
 | G9 | 0 | 2112.21 | 0.00%
BCCL | W-III | 18838 | 4073.92 | 0.53%
 | W-IV | 259094 | 3903.3 | 7.28%
MCL | G12 | 0 | 1715.81 | 0.00%
 | G13 | 0 | 1687.28 | 0.00%
MCL-W | G11 | 0 | 1876.23 | 0.00%
CCL | WR3 | 0 | 4066.81 | 0.00%
 | W4 | 0 | 3220.87 | 0.00%
Captive-WB | G7 | 44484 | 3137.1 | 1.25%
 | G8 | 0 | 2530.38 | 0.00%
 | G9 | 0 | 2103.51 | 0.00%
Captive-Jharkhand | G9 | 845196 | 2031.12 | 23.75%
MSTC | G12 | 338081 | 4382.9 | 9.50%
Import | G7 | 0 | 5661 | 0.00%
E-auction ECL |  | 352600 | 5785.01 | 9.91%
E-auction BCCL | W-IV | 250968 | 4355.5 | 7.05%
Total |  | 3559069 |  | 100%

## Slide 77: Reduction of Fixed Cost for WBSETCL by way of sustainable reduction of ROE %; precedence already set by Rajasthan and Uttar Pradesh
Sl. No. | State | Name of the Utility | ROE as per Regulation | ROE claimed as per Latest Tariff Order
1 | Uttar Pradesh | UPPTCL | 14.5% | 2%
2 | Rajasthan | RVPNL | 14% | 2%
Source: 1) Respective TRANSCO Tariff Orders
Precedence set by TRANSCO(s) of states like Rajasthan and Uttar Pradesh in claiming lesser ROE than allowed by respective state Tariff Regulations resulting in reduced burden of income tax on DISCOM(s)
Note
Equity required considered for WBSETCL’s planned capital investments (excl. supervision and IDC) (as per MYT petition for FY ’21,’22,23) is 30%
Additional amount of ~INR 444 Cr available with WBSETCL as Cash and Bank balance for FY ‘20
Admitted Equity Base for FY 2019-20 (A) | ₹ 29,087,599,000
ROE(%) (B) | 15.50%
MAT (%) considered by Commission for calculation of Income Tax (C) | 17.47%
Admitted ROE (D) = (A*B) | ₹ 4,508,577,845
Admitted Income Tax (E) = (C*D) | ₹ 787,738,721
Modified ROE rate (Scenario I) (B1) | 10%
Modified ROE (@ 10%) (D1)= (A*B1) | 2908759900
Modified Income Tax (at ROE @10%) (E1) = (C*D1) | 508218529.7
Modified ROE (Scenario II) (B2) | 7.50%
Modified ROE (@ 7.5%) (D2)= (A*B2) | ₹ 2,181,569,925
Modified Income Tax (at 7.5%) (E2) = (C*D2) | ₹ 381,163,897.30

## Slide 78: Annexure- 2 (1/2)
Type of Consumer | Consumer Category | Consumption slab (kWh) per quarter |  | Tariff |  | Applicable Subsidy | 
 |  |  |  | Energy Charge (Rs /kWh) | Fixed Charge (Rs/KVA /month) | Energy Charge (Rs /kWh) | Fixed Charge (Rs/KVA /month)
Domestic (Rural) | Rate A (Dm-R) | First | 102 | 5.49 | 15 | 0.9 | 10
 |  | Next | 78 | 6.09 | 15 | 0.9 | 10
 |  | Next | 120 | 6.96 | 15 | 0.74 | 10
 |  | Next | 300 | 7.46 | 15 | 0.79 | 10
 |  | Next | 300 | 7.55 | 15 | 0.8 | 10
 |  | Above | 900 | 9.22 | 15 | 0 | 0
Domestic (Urban) | Rate A (Dm-U) | First | 102 | 5.53 | 15 | 0.89 | 10
 |  | Next | 78 | 6.20 | 15 | 0.96 | 10
 |  | Next | 120 | 7.20 | 15 | 0.74 | 10
 |  | Next | 300 | 7.54 | 15 | 0.79 | 10
 |  | Next | 300 | 7.81 | 15 | 0.8 | 10
 |  | Above | 900 | 9.22 | 15 | 0 | 0
Irrigation pumping for Agriculture (Metered supply from mixed HV feeder) | Rate C(a) | All units |  | 4.98 | 30 | 0.69 | 20
Irrigation pumping for Agriculture (Metered) | Rate C(t) | 6.00 - 17.00 | All units | 4.01 | 20 | 0.23 | 10
 |  | 17.00 - 23.00 | All units | 7.71 | 20 | 0.23 | 10
 |  | 23.00 - 06.00 | All units | 2.65 | 20 | 0.23 | 10
Short Term Irrigation Supply | Rate C(t)-STIS | 6.00 - 17.00 | All units | 4.70 | 20 | 0.23 | 10
 |  | 17.00 - 23.00 | All units | 8.48 | 20 | 0.23 | 10
 |  | 23.00 - 06.00 | All units | 3.02 | 20 | 0.23 | 10

## Slide 79: Annexure- 2 (2/2)
Hasir Alo Order: WBERC Order dtd. 31.03.2020 in Case No. A-6/14/G0:
Subsidy Order: WBERC Order dtd. 24.01.2022 in Case No. B-11/23:

## Slide 80: Season-wise average hourly load-generation balance (in MW) for WBSEDCL for FY 2018-19
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 4408.6985 | 4222.9339 | 4132.5727 | 4100.3539 | 4065.4755 | 4050.6352 | 4021.6505 | 4015.7097 | 4053.1167 | 4100.1356 | 4172.7099 | 4159.7604 | 4174.1736 | 4137.0072 | 4206.0461 | 4171.814 | 4096.0375 | 5179.3475 | 6845.9402 | 7208.199 | 7036.1524 | 6308.1336 | 5790.563 | 5485.2389
Demand | 3907.0454 | 3748.0951 | 3673.3 | 3649.2835 | 3622.9874 | 3626.9481 | 3611.2876 | 3608.7793 | 3642.3383 | 3671.094 | 3721.3622 | 3697.7586 | 3703.8083 | 3667.3332 | 3725.0557 | 3695.0909 | 3629.916 | 4592.1365 | 6054.7566 | 6370.2369 | 6218.1116 | 5576.6406 | 5120.6499 | 4852.9626
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 4716.3503 | 4432.4122 | 4269.4985 | 4222.1267 | 4211.7292 | 4210.228 | 4136.3646 | 4178.0345 | 4254.2239 | 4291.1956 | 4323.7942 | 4274.988 | 4272.251 | 4269.313 | 4371.1632 | 4348.5043 | 4329.0167 | 6127.2506 | 7403.3172 | 7698.5429 | 7688.2963 | 7631.5953 | 6879.186 | 5825.5277
Demand | 4130.5031 | 3896.6884 | 3777.3737 | 3752.8613 | 3748.0621 | 3741.1873 | 3677.7795 | 3719.4182 | 3784.8737 | 3799.3468 | 3813.4016 | 3764.0227 | 3756.2557 | 3748.4565 | 3829.3281 | 3808.4586 | 3791.4575 | 5356.559 | 6463.4016 | 6719.3364 | 6710.7567 | 6661.6542 | 6006.6521 | 5092.9141
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 3427.3473 | 3362.0964 | 3335.5676 | 3316.8261 | 3309.1489 | 3372.3272 | 3500.3654 | 3568.7698 | 3623.5923 | 3682.4934 | 3681.2241 | 3607.7674 | 3547.9619 | 3494.4682 | 3453.4309 | 3451.5781 | 3547.8804 | 4983.2312 | 5070.7323 | 5048.6394 | 4794.6219 | 4318.9111 | 3960.7425 | 3459.3548
Demand | 3101.1291 | 3054.4603 | 3034.3444 | 3019.8351 | 3008.4458 | 3042.9696 | 3122.0452 | 3166.0607 | 3210.9603 | 3261.8961 | 3260.4976 | 3195.5628 | 3142.8361 | 3100.2812 | 3067.51 | 3064.5493 | 3145.4106 | 4408.7502 | 4485.1435 | 4466.1435 | 4242.1435 | 3805.04 | 3513.5618 | 3100.8278

## Slide 81: Season-wise average hourly load-generation balance (in MW) for WBSEDCL for FY 2019-20
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 4853.6221 | 4687.3507 | 4609.6902 | 4581.4253 | 4554.3748 | 4543.8303 | 4543.8103 | 4546.7822 | 4592.2834 | 4617.8495 | 4684.0865 | 4694.4583 | 4672.6592 | 4618.5242 | 4696.6828 | 4704.3989 | 4618.748 | 4810.339 | 6616.231 | 7228.0829 | 7110.7629 | 6608.4516 | 6218.2223 | 5550.5111
Demand | 4433.7273 | 4285.777 | 4218.982 | 4196.9654 | 4175.6694 | 4178.63 | 4186.9696 | 4191.4613 | 4233.0203 | 4246.776 | 4296.0441 | 4296.4406 | 4270.4903 | 4219.0151 | 4287.7377 | 4294.7729 | 4217.5979 | 4397.8184 | 6035.4385 | 6587.9188 | 6480.7936 | 6024.3226 | 5670.3319 | 5063.6445
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5110.4469 | 5070.7559 | 5012.4936 | 4953.2942 | 4933.3598 | 4916.0143 | 4935.2058 | 4961.108 | 5001.5093 | 5054.142 | 5065.4097 | 5035.3642 | 4983.5586 | 4953.7376 | 4955.1941 | 4953.9197 | 4945.5664 | 5479.5488 | 6674.9747 | 7239.4047 | 7592.4265 | 7142.5525 | 6510.4756 | 6025.948
Demand | 4573.8443 | 4548.8951 | 4516.0534 | 4477.4582 | 4462.7149 | 4406.2563 | 4460.5669 | 4483.5669 | 4519.5669 | 4566.5669 | 4576.5669 | 4549.5669 | 4470.6011 | 4440.0472 | 4435.7367 | 4432.3319 | 4425.363 | 4900.3361 | 5961.3412 | 6462.4655 | 6776.8723 | 6377.5855 | 5814.5203 | 5386.0245
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5110.4469 | 5070.7559 | 5012.4936 | 4953.2942 | 4933.3598 | 4916.0143 | 4935.2058 | 4961.108 | 5001.5093 | 5054.142 | 5065.4097 | 5035.3642 | 4983.5586 | 4953.7376 | 4955.1941 | 4953.9197 | 4945.5664 | 5479.5488 | 6674.9747 | 7239.4047 | 7592.4265 | 7142.5525 | 6510.4756 | 6025.948
Demand | 4573.8443 | 4548.8951 | 4516.0534 | 4477.4582 | 4462.7149 | 4406.2563 | 4460.5669 | 4483.5669 | 4519.5669 | 4566.5669 | 4576.5669 | 4549.5669 | 4470.6011 | 4440.0472 | 4435.7367 | 4432.3319 | 4425.363 | 4900.3361 | 5961.3412 | 6462.4655 | 6776.8723 | 6377.5855 | 5814.5203 | 5386.0245

## Slide 82: Season-wise average hourly load-generation balance (in MW) for WBSEDCL for FY 2020-21
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5100 | 5070 | 5040 | 5010 | 4980 | 4950 | 4920 | 4900 | 5050 | 5200 | 5350 | 5500 | 5650 | 5700 | 5550 | 5390 | 5550 | 5710 | 5870 | 6030 | 6180 | 5880 | 5580 | 5280
Demand | 4300 | 4270 | 4240 | 4210 | 4180 | 4150 | 4120 | 4100 | 4150 | 4200 | 4250 | 4300 | 4350 | 4450 | 4220 | 4490 | 4760 | 5030 | 5300 | 5570 | 5600 | 5300 | 5000 | 4700
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5950 | 5920 | 5890 | 5860 | 5830 | 5790 | 5750 | 5700 | 5770 | 5840 | 5910 | 5980 | 6050 | 6100 | 6075 | 6050 | 6275 | 6500 | 6725 | 6940 | 7150 | 6875 | 6600 | 6350
Demand | 4200 | 4250 | 4300 | 4350 | 4225 | 4100 | 4125 | 4150 | 4175 | 4200 | 4225 | 4250 | 4275 | 4300 | 4200 | 4100 | 4600 | 5100 | 5600 | 6000 | 5950 | 5650 | 5350 | 4950
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5000 | 4972 | 4944 | 4916 | 4888 | 4860 | 4832 | 4800 | 4855 | 4910 | 4965 | 5020 | 5075 | 5150 | 5105 | 5060 | 5000 | 5200 | 5400 | 5600 | 5650 | 5450 | 5250 | 5200
Demand | 4150 | 4130 | 4110 | 4090 | 4070 | 4050 | 4030 | 4000 | 4060 | 4120 | 4180 | 4240 | 4300 | 4400 | 4335 | 4270 | 4200 | 4360 | 4520 | 4680 | 4750 | 4550 | 4350 | 4150

## Slide 83: Season-wise average hourly load-generation balance (in MW) for WBSEDCL for FY 2021-22
Chart: Summer
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5850 | 5800 | 5750 | 5700 | 5650 | 5600 | 5550 | 5500 | 5608 | 5716 | 5824 | 5932 | 6040 | 6150 | 6025 | 5900 | 5975 | 6050 | 6110 | 6170 | 6850 | 6600 | 6350 | 6100
Demand | 4150 | 4130 | 4110 | 4090 | 4070 | 4050 | 4030 | 4000 | 4150 | 4300 | 4450 | 4600 | 4750 | 4750 | 4600 | 4450 | 4550 | 4650 | 5330 | 6010 | 6550 | 6270 | 5840 | 5400
Chart: Monsoon
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 6150 | 6110 | 6070 | 6030 | 5990 | 5950 | 5910 | 5900 | 6040 | 6180 | 6320 | 6460 | 6600 | 6750 | 6575 | 6400 | 6525 | 6650 | 6910 | 7170 | 7450 | 7335 | 7220 | 7100
Demand | 4750 | 4650 | 4550 | 4450 | 4350 | 4450 | 5000 | 5060 | 5120 | 5180 | 5240 | 5300 | 5360 | 4950 | 4875 | 4800 | 4840 | 4880 | 5330 | 5780 | 6250 | 5970 | 5690 | 5400
Chart: Winter
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
Availability (Long Term & Short Term) | 5050 | 5035 | 5020 | 5005 | 4990 | 4975 | 4960 | 4950 | 5060 | 5170 | 5280 | 5390 | 5500 | 5650 | 5500 | 5350 | 5400 | 5450 | 5660 | 5870 | 6100 | 5840 | 5580 | 5300
Demand | 4750 | 4670 | 4590 | 4510 | 4430 | 4350 | 4270 | 4250 | 4355 | 4460 | 4565 | 4670 | 4775 | 4900 | 4825 | 4750 | 4800 | 4850 | 4900 | 4950 | 5000 | 4770 | 4540 | 4300

## Slide 84: WBPDCL: Historically there has been significant delay in issuance of Tariff/APR/FCA Orders and release of admitted APR/FCA amounts; APR and FCA orders have not been issued from FY 15 onwards
Source: WBERC Tariff, APR and FCA Orders for WBPDCL
Chart: 
| FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 12 | FY 13 | FY 14 | FY 12 | FY 13 | FY 14
Column1 | 40633 | 40999 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 43921 | 41364 | 41729 | 42094 | 41364 | 41729 | 42094
Notional date for order issuance | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in issuance of order (days) | 611 | 245 | 270 | 338 | 80 | 211 | 531 | 1201 | 836 | 556 | 158 | 112 | 877 | 95 | 67 | 877
Actual Order Issuance Date | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in issuance of order (days)2 | 227 | 520 | 201 | 521 | 457
Actual Order Issuance Date2 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 25 | 25 | 25 | 25
Tariff Order
APR Order
FCA Order
Apr ‘11
Apr ‘12
Apr ‘14
Apr ‘15
Apr ‘13
Apr ‘17
Apr ‘18
Apr ‘16
Apr ‘20
Apr ‘21
Apr ‘19
Apr ‘22
Apr ‘23
Notional date for Order issuance
Actual Order issuance date
Delay (in days)
APR/FCA amount release date
Delay in release of admitted amount: 703 days
Delay in release of admitted amount: 338 days
Delay in release of admitted amount: 641 days
Order delay: 463 days (for Sagardighi new units)
Delay in release of admitted amount: 549 days
APR and FCA Orders for WBPDCL have not been issued from FY 15 onwards
Avg. delay in Tariff order issuance: 486 days
Avg. delay in APR and FCA order issuance: 364 days

## Slide 85: WBSETCL: Historically there has been significant delay in issuance of Tariff/APR Orders and release of admitted APR amounts; APR orders have not been issued from FY 16 onwards
Source: WBERC Tariff and APR Orders for WBSETCL
Chart: 
| FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 12 | FY 13 | FY 14 | FY 15
Column1 | 40633 | 40999 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 43921 | 41364 | 41729 | 42094 | 42460
Notional date for order issuance | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in issuance of order (days) | 611 | 245 | 270 | 338 | 83 | 211 | 460 | 991 | 626 | 451 | 162 | 71 | 1938 | 1915
Actual Order Issuance Date | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Column2 | 516 | 242 | 124
Column3 | 25 | 25 | 25
Tariff Order
APR Order
Apr ‘11
Apr ‘12
Apr ‘14
Apr ‘15
Apr ‘13
Apr ‘17
Apr ‘18
Apr ‘16
Apr ‘20
Apr ‘21
Apr ‘19
Apr ‘22
Apr ‘23
Delay in release of admitted amount: 703 days
Delay in release of admitted amount: 338 days
Delay in release of admitted amount: 2087 days
(amount yet to be released)
Notional date for Order issuance
Actual Order issuance date
Delay (in days)
APR/FPPCA amount release date
Avg. delay in Tariff order issuance: 429 days
Avg. delay in APR order issuance: 1022 days
APR Orders for WBSETCL have not been issued from FY 16 onwards

## Slide 86: WBSEDCL: Historically there has been significant delay in issuance of Tariff/APR/FPPCA Orders and release of admitted APR/FPPCA amounts; APR/FPPCA orders from FY 19 onwards have not been issued
Source: WBERC Tariff, APR and FPPCA Orders for WBSEDCL
Tariff Order
APR Order
FPPCA Order
Apr ‘11
Apr ‘12
Apr ‘14
Apr ‘15
Apr ‘13
Apr ‘17
Apr ‘18
Apr ‘16
Apr ‘20
Apr ‘21
Apr ‘19
Apr ‘22
Apr ‘23
Avg. delay in Tariff order issuance: 512 days
Avg. delay in APR and FPPCA order issuance: 1252 days
Chart: 
| FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18 | FY 12 | FY 13 | FY 14 | FY 15 | FY 16 | FY 17 | FY 18
Column1 | 40633 | 40999 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 43921 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555 | 41364 | 41729 | 42094 | 42460 | 42825 | 43190 | 43555
Notional date for order issuance | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in issuance of order (days) | 611 | 245 | 270 | 338 | 132 | 211 | 460 | 1243 | 878 | 727 | 162 | 73 | 2297 | 2043 | 1770 | 1411 | 1081 | 114 | 0 | 2297 | 2043 | 1770 | 1411 | 1081
Actual Order Issuance Date | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Column2 | 3097 | 2824 | 232 | 120 | 28 | 22 | 0 | 3145 | 2897 | 232 | 120 | 28 | 22 | 0
Column3 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Delay in release of admitted amount: 3284 days
Delay in release of admitted amount: 3284 days
Delay: 2922 days
Notional date for Order issuance
Actual Order issuance date
Delay (in days)
APR/FPPCA amount release date
APR and FPPCA Orders from FY 19 onwards have not been issued
Delay: 2554 days
Delay: 2188 days
Delay: 1823 days
Delay: 1458 days
Delay: 1093 days
Delay: 2922 days
Delay: 2554 days
Delay: 2188 days
Delay: 1823 days
Delay: 1458 days
Delay: 1093 days

## Slide 87: Domestic L&MV Energy Charge of West Bengal at par with other states
Chart: LV & MV Energy Charge Rate Comparison (INR Paisa/kWh)
| WBSEDCL erstwhile DPL(Domestic) - 0-25 kWh | WBSEDCL erstwhile DPL(Domestic) - 26-50 kWh | WBSEDCL erstwhile DPL(Domestic) - 51-100 kWh | WBSEDCL erstwhile DPL(Domestic) - 101-200 kWh | WBSEDCL erstwhile DPL(Domestic) - 201-300 kWh | WBSEDCL erstwhile DPL(Domestic) - above 300 kWh | WBSEDCL(Domestic Rural) - 0-102 kWh | WBSEDCL(Domestic Rural) - 103-180 kWh | WBSEDCL(Domestic Rural) - 181-300 kWh | WBSEDCL(Domestic Rural) - 301-600 kWh | WBSEDCL(Domestic Rural) - 601-900 kWh | WBSEDCL(Domestic Rural) - Above 900 kWh | WBSEDCL(Domestic Urban) - 0-102 kWh | WBSEDCL(Domestic Urban) - 103-180 kWh | WBSEDCL(Domestic Urban) - 181-300 kWh | WBSEDCL(Domestic Urban) - 301-600 kWh | WBSEDCL(Domestic Urban) - 601-900 kWh | WBSEDCL(Domestic Urban) - Above 900 kWh | WBSEDCL(Domestic, above 50 kVA) - All Units | IPCL (Domestic) - 0-34 kWh | IPCL (Domestic) - 35-60 kWh | IPCL (Domestic) - 61-100 kWh | IPCL (Domestic) - 101-200 kWh | IPCL (Domestic) - 201-300 kWh | IPCL (Domestic) - Above 300 kWh | CESC (Domestic) - 0-25 kWh | CESC (Domestic) - 25-60 kWh | CESC (Domestic) - 61-100 kWh | CESC (Domestic) - 101-150 kWh | CESC (Domestic) - 151-200 kWh | CESC (Domestic) - 201-300 kWh | CESC (Domestic) - Above 300 kWh | TPDDL (0-2 kW connection) | TPDDL (2-5 kW connection) | TPDDL (5-15 kW connection) | BRPL (0-2 kW connection) | BRPL (2-5 kW connection) | BRPL (5-15 kW connection) | BESCOM Urban (0-1 kW) | BESCOM Urban (1-50 kW) | BESCOM Urban (above 50 kW) | BESCOM Rural (0-1 kW) | BESCOM Rural (1-50 kW) | BESCOM Rural (above 50 kW) | JBVNL LT Rural | JBVNL LT Urban | MAHADISCOM (LT Residential) 0-100 kWh | MAHADISCOM (LT Residential) 101-300 kWh | MAHADISCOM (LT Residential) 301-500 kWh | MAHADISCOM (LT Residential) Above 500 kWh, 3 Ph | Tata Power (LT Residential) 0-100 kWh | Tata Power (LT Residential) 101-300 kWh | Tata Power (LT Residential) 301-500 kWh | Tata Power (LT Residential) Above 500 kWh | Adani (LT Residential) 0-100 kWh | Adani (LT Residential) 101-300 kWh | Adani (LT Residential) 301-500 kWh | Adani (LT Residential) Above 500 kWh | West Bengal | Delhi | KTK | JH | Maharashtra
 | 345 | 420 | 435 | 467 | 486 | 499 | 549 | 609 | 696 | 746 | 755 | 922 | 553 | 620 | 720 | 754 | 781 | 922 | 707 | 349 | 408 | 507 | 526 | 550 | 579 | 518 | 569 | 670 | 745 | 762 | 762 | 921 | 300 | 450 | 650 | 300 | 450 | 650 | 555 | 710 | 815 | 525 | 680 | 765 | 575 | 625 | 336 | 734 | 1037 | 1186 | 235 | 385 | 599 | 670 | 305 | 500 | 670 | 780

## Slide 88: Domestic HV & EHV Energy Charge Comparison
As can be seen from above, Domestic Energy charges for HV and EHV consumers for West Bengal are at par with other states
Chart: HV & EHV Domestic Energy Charge Rate Comparison (Paisa/kWh)
| WBSEDCL erstwhile DPL - All Units | WBSEDCL - All Units | IPCL- All Units | CESC- All Units | TPDDL (15-25 kW connection) | TPDDL (above 25 kW connection) | BRPL (15-25 kW connection) | BRPL (above 25 kW connection) | BESCOM HT | JBVNL Domestic Paisa/kVah | MAHADISCOM (HT) - Group Housing Society | MAHADISCOM (EHV) - Group Housing Society | Tata Power - Group Housing Society | Adani - All units | Adani - Group Housing Society | West Bengal | Delhi | Karnataka | JH | Maharashtra
 | 463 | 749 | 556 | 739 | 700 | 800 | 700 | 800 | 705 | 600 | 570 | 570 | 553 | 585 | 599

## Slide 89: Tariff Slab complexities witnessed in West Bengal in comparison to other states
150 kWh
450 kWh
300 kWh
600 kWh
750 kWh
900 kWh
1050 kWh
WBSEECL
(Erstwhile DPL)
WBSEECL
IPCL
CESC
MAHADISCOM, Tata Power, ADANI
TPDDL, BSES Rajdhani
BESCOM
0-25
26-50
51-100
101-200
201-300
0-102
103-180
181-300
1200 kWh
1350 kWh
301-600
601-900
0-34
35-60
61-100
101-200
201-300
25-60
61-100
101-150
151-200
0-25
201-300
0-100
101-300
301-500
0-200
201-400
401-800
801-1200
0-50
51-100
101-200
Simpler tariff slabs contribute towards easing up of billing process
No. of Units

## Slide 90: Impact Analysis of anti power theft initiatives in Select States
Anti Power theft police stations play a crucial role in the prevention of power thefts and minimization of AT&C losses.
Improvement in the quality of investigation of power theft crimes in UP
Chart: 
| 2017 | 2018 | 2019 | 2020
No. of FIRs | 113341 | 174414 | 100820 | 176007
No. of Cases disposed off | 113316 | 174285 | 72458 | 22774
No. of charge sheet submitted | 76192 | 119425 | 49863 | 990
No. of Final Report submitted | 37124 | 54860 | 22595 | 21784
% of cases disposed off resulting in charge sheet | 0.6723 | 0.6852 | 0.6881 | 0.0435
% of cases disposed off resulting in Final Report | 0.3277 | 0.3148 | 0.3119 | 0.9565
1.Impact Analysis of Anti Power theft police stations
24×7 operational control room
Anonymity and Confidentiality maintained; along with provision for online reporting
A cash reward scheme in place
Installation Checking Squads function in each O&M circle in each subsidiary company MGVCL, PGVCL, DGVCL & UGVCL to take appropriate confidential actions on power theft related information.
Periodic pro-active vigilance activities in all subsidiaries of GUVNL
Power theft initiatives in Gujarat - GUVNL Vigilance Department
2.GUVNL Vigilance
Power theft initiatives in UP
A prompt follow up of the investigations has led to timely resolution of power theft cases with deposition of the compounding penalty and assessed revenues for UPPCL
Chart: Year-wise percentage theft cases against raid conducted
| 2017 | 2018 | 2019 | 2020
 | 0.6597 | 0.676 | 0.4461 | 0.4792

## Slide 91: Delayed release of admitted APR/FCA/FPPCA amounts has resulted in carrying cost burden; Rs. 126.37 Cr (WBSEDCL), Rs. 9.96 Cr (DPL) and Rs. 26.16 Cr (WBSETCL) are yet to be released
Source: WBERC Orders
Carrying cost for WBPDCL
Carrying cost for WBSEDCL
Carrying cost for DPL
Carrying cost for WBSETCL
Note: Carrying costs have been computed on simple interest basis; SBI PLRs as on the 1st April of the preceding years have been considered as interest rates as per WBERC Tariff Regulations; For unreleased amounts, carrying costs have been computed till 31.03.2022
Order | Admitted Amount (Rs. Cr.) | Delay in release (days) | Carrying Cost (Rs. Cr.)
FY 12 APR | -85.65 | 703 | -
FY 12 APR Review | 2.05 | 3027 | 2.10
FY 12 FCA | 216.65 | 641 | 55.63
FY 13 APR | -45.10 | 338 | -
FY 13 APR Review | 12.64 | 2662 | 12.99
FY 13 FCA | 952.89 | 549 | 208.54
FY 14 APR FCA | 104.76 | 877 | 36.79
Total |  |  | 316.06
Order | Admitted Amount (Rs. Cr.) | Delay in release (days) | Carrying Cost (Rs. Cr.)
FY 12 APR Review | 2.84 | 3284 | 3.60
FY 13 APR + Review | 1,997.31 | 338 – 2922 | 735.64
FY 14 APR | 2,517.03 | 2297 – 2554 | 2,316.73
 | 64.54 | Not yet released | 62.96
FY 15 APR | 92.95 | Not yet released | 76.86
FY 16 & FY 17 APR | 2,359.64 | Not yet released | 1,507.71
FY 18 APR | 509.29 | Not yet released | 203.94
 | 61.83 | Not yet released | 24.83
Total |  |  | 4,932.27
Order | Admitted Amount (Rs. Cr.) | Delay in release (days) | Carrying Cost (Rs. Cr.)
FY 12 APR | 422.55 | 270 | 45.98
FY 13 APR | 142.83 | 338 | 19.11
FY 14 APR | -0.86 | Not yet released | -
FY 14 APR Review | 10.81 | Not yet released | 10.55
Total |  |  | 75.64
Order | Admitted Amount (Rs. Cr.) | Delay in release (days) | Carrying Cost (Rs. Cr.)
FY 12 APR | 44.71 | 703 | 12.70
FY 13 APR | 5.38 | 338 | 0.73
FY 14 APR | 7.75 | 2087 | 6.25
FY 15 APR | 26.16 | Not yet released | 21.66
Total |  |  | 41.35

## Slide 92
Chart: Summer Season (March, April, May, June)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Actual Peak Demand | 7169 | 7169 | 6626 | 7495 | 7645
Unrestricted Peak Demand | 7185 | 7185 | 6639 | 7513.2663 | 7663.6318
Chart: Summer Season (March, April, May, June)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Net Energy Consumption | 3975.5 | 3884 | 3128.5 | 4238 | 4481
Unrestricted Energy Requirement | 3991.4976 | 3902.25 | 3148.75 | 4248.1301 | 4492.2094
Chart: Monsoon Season (July, Aug, Sept, Oct)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Actual Peak Demand | 7297 | 7269 | 7044 | 7600 | 7675
Unrestricted Peak Demand | 7303 | 7292 | 7049 | 7620.6012 | 7695.8045
Chart: Monsoon Season (July, Aug, Sept, Oct)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Net Energy Consumption | 3873.25 | 3990.25 | 4041 | 4190 | 4473.75
Unrestricted Energy Requirement | 3891 | 4001.5 | 4046.25 | 4195.0534 | 4479.1505
Chart: Winter Season (Nov, Dec, Jan, Feb)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Actual Peak Demand | 5900 | 6597 | 5788 | 5495 | 5660
Unrestricted Peak Demand | 5903 | 6597 | 5788 | 5495.9314 | 5660.9593
Chart: Winter Season (Nov, Dec, Jan, Feb)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 Estimated | 2022-23 Estimated
Net Energy Consumption | 2817.5 | 2787.25 | 2989.25 | 2926.5 | 2922.5
Unrestricted Energy Requirement | 2826.25 | 2791 | 2991.75 | 2929.4536 | 2925.4346
2018-19 | 2019-20 | 2020-21 | E 2021-22 | E 2022-23
2018-19 | 2019-20 | 2020-21 | E 2021-22 | E 2022-23
Seasonal Demand and Energy Consumption of WBSEDCL
Data Source: ERPC Annual Report and LGBR Report
Seasonal Demand in MW
Seasonal Energy Consumption in MU

## Slide 93
Cost of Power Purchase from WBPDCL
Cost of Power Purchase from Other Sources *
Transmission charges for WBSETCL
Other fixed cost less non-tariff income
Part adjustment of APR 2013-14
Revenue per unit from sale of power to licensees and Sikkim
Average Tariff Rate
Break up of 2020-21 Average Tariff rate as per tariff order (RS/KWh)
Breakdown of average tariff rate – FY 2020-21 Approved WBERC Order
N.B.
Average Tariff rate is Rs. 6.97 /KWh considering revenue recoverable from sale of 30923 MUs to own consumers
Rs. 6.97
Refer Annexure-I for details of cost of Power Purchase from Other Sources.

## Slide 94
Sector wise installed capacity (in MW) and category wise revenue rate comparison
HR
Installed Capacity (In MW)
Chart: 
| DVC | India Power | WBSEDCL
33 KV | 4.33 | 5.86 | 7.17
132 KV | 4.19 | 5.82 | 7.13
ABR ( Rs /KWh) | 4.9 | 5.29 | 6.98
Energy Charge ( Rs/KWh) applicable for Industrial Consumer
* Fixed charge remain same for all three utility and equal to Rs. 384 / KVA/ Month
Chart: 
| Domestic | Commercial | Agriculture | Induatrial | Other
No. of Consumer (%) | 0.88388 | 0.091686 | 0.016288 | 0.0055971 | 0.0025531
Energy Sale in MU (%) | 0.39268 | 0.14904 | 0.044963 | 0.32492 | 0.088395
Average Revenue Rate (Rs./ KWh) | 6.5087 | 8.843 | 4.7614 | 6.8776 | 7.3421
Summary of revenue rate including number vs sales for different category of consumers for FY 19-20
Total Installed Capacity of State Sector is 6497.95 MW.
Marginal Renewable share of 2% (122 MW)
Industrial consumer base 0.56% contribute to 32.49% of total energy sales.
Competitiveness of Industrial Tariff of WBSEDCL is critical
Chart: 
| Thermal | Hydro | RES
State Sector | 5390 | 986 | 122
@ 2020 Deloitte Touche Tohmatsu India LLP